## table4
Table 4 Nuclear Power Stations (in TBq/y)
Location Ref | Site | Discharges to | Reactors Number and Type | Installed Capacity MW.h | Net Electrical Output MW | Calculated Total-a | Calculated Total-b | Tritium | other radio nuclides | total a-activity | total b-activity (ex.Tritium) | Co58 | Co60 | Zn65 | Sr90 | Zr/Nb95 | Ru106 | Ag110m | Sb125 | Cs134 | Cs137 | Ce144 | S35 | Notes
BE01 | Doel | Schelde | 4 PWR | 2911 | 11792767 | 4.05e-06 | 0.00201 | 35.1 | 0.000841 | 4.05e-06 | 0.000304 | 0.000371 | 0.000357 | 4.78e-05 | 3.43e-06 | 6.5e-05 | 2.18e-05 | 0.000198 | 0.000827 | 2.29e-05 | 0.000241 | 0.000133
BE02 | Tihange | Meuse | 3 PWR | 962 | 7622140 | 3.03e-07 | 0.000402 | 0.284 | 8.99e-05 | 3.03e-07 | 0.000106 | 5.27e-05 | 0.000136 | 1.09e-05 | 6.39e-07 | 2.16e-05 | 2.65e-05 | 6.92e-05 | 7.8e-06 | 4.27e-06 | 3.23e-05 | 1.74e-05
BE02 | Tihange | Meuse |  | 1008 | 5455497 | 2.3e-06 | 0.0178 | 31.8 | 0.000523 | 2.3e-06 | 0.00747 | 0.000754 | 0.00898 | 4.28e-05 | 4.14e-06 | 0.000218 | 0.000139 | 0.00136 | 0.000354 | 1.49e-05 | 0.000207 | 3.97e-05
BE02 | Tihange | Meuse |  | 1045.8 | 2125223 | 8.82e-07 | 0.00231 | 13.6 | 8.22e-05 | 8.82e-07 | 0.00098 | 6.3e-05 | 0.00117 | 1e-05 | 1.84e-06 | 2.16e-05 | 3.09e-05 | 0.000104 | 9.73e-05 | 4.36e-06 | 9.18e-05 | 1.12e-05
CH01 | Beznau | Aare | 2 PWR | 365/365 | 5538400 | 8.1e-08 | 0.00018 | 7.1 | 0.00018 | 8.1e-08 | 0.00018 | 3e-06 | 5.4e-05 | 2.3e-07 | 1.3e-06 |  |  | 2.7e-06 | 1.8e-05 | 1.2e-06 | 8.1e-05
CH02 | Gösgen | Aare | 1 PWR | 1010 | 8246750 | 7e-08 | 1.2e-05 | 17 | 1.2e-05 | 7e-08 | 1.2e-05 | 9.3e-08 | 8.3e-07 |  |  | 9.1e-08
CH03 | Leibstadt | Rhine | 1 BWR | 1220 | 7799180 | 2e-07 | 0.00012 | 0.5 | 0.00012 | 2e-07 | 0.00012 |  | 0.00011 | [7 empty] | 2.4e-06
CH04 | Mühleberg | Aare | 1 BWR | 373 | 2953653 | 2.1e-08 | 6.9e-05 | 0.11 | 6.9e-05 | 2.1e-08 | 6.9e-05 | 4.7e-06 | 4.1e-05 | 1.8e-06 | 2.5e-08 | [5 empty] | 1.1e-06
CH06 | ZWILAG Würenlingen | Aare |  |  |  | 2.8e-09 | 0.00033 | 0.026 | 0.00033 | 2.8e-09 | 0.00033 | 2.1e-08 | 1.7e-05 |  | 1.2e-07 |  |  |  | 2.8e-05 | 5.1e-06 | 0.00028
DE02 | Brokdorf | Elbe | 1 PWR | 1480 | 9840000 | ND | ND | 24.1 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
DE05 | Grohnde/Emmerthal | Weser | 1 PWR | 1430 | 10300000 | ND | ND | 20.3 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
DE09a | Lingen/EmslaND | Ems | 1 PWR | 1406 | 10900000 | ND | ND | 12 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 6.16e-08 | ND
DE11b | Neckar-Westheim 2 | Neckar | 1 PWR | 1400 | 9100000 | ND | ND | 15.9 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
DE13b | Philippsburg 2 | Rhine | 1 PWR | 1468 | 10300000 | ND | 2.35e-05 | 13.6 | 2.35e-05 | ND | 2.35e-05 | 2.89e-06 | 1.28e-05 | ND | ND | 1e-07 | ND | 2e-07 | ND | ND | 3.11e-06 | 2.8e-07
ES01 | Almaraz | Tagus | 2 PWR | 2094 | 15698898 | 0 | 0.00826 | 35.1 | 0.00826 | 0 |  | 0.00187 | 0.00098 | 3.56e-05 | 3.02e-05 | 0.000562 | 0.000128 | 0.00102 | 0.000412 | 9.97e-05 | 0.000541 | 0
ES03 | Trillo | Tagus | 1 PWR | 1066 | 7732002 | 0 | 0.000194 | 22.4 | 0.000194 | 0 |  | 2.57e-06 | 2.04e-05 | 0 | 0 | 2.47e-06 | 0 | 2.44e-06 | 0 | 0 | 2.32e-06 | 0
FR01 | Belleville | Loire | 2 PWR | 2600 | 329000000 | 0 | 0.00043 | 50.6 | 0.00043 |  |  | 3.8e-05 | 0.000127 |  |  |  |  | 0.000127 | 4.4e-05 | 1.5e-05 | 1.8e-05
FR03 | Cattenom | Mosel | 4 PWR | 5200 | 329000000 | 0 | 0.00083 | 99 | 0.00083 |  |  | 0.000181 | 0.000267 |  |  |  |  | 0.000134 | 6.4e-05 | 2.3e-05 | 4.6e-05
FR04 | Chinon | Loire | 4 PWR | 3600 | 329000000 | 0 | 0.00031 | 50.7 | 0.00031 |  |  | 4.2e-05 | 9.1e-05 |  |  |  |  | 5.1e-05 | 4.3e-05 | 1.3e-05 | 1.5e-05
FR05 | Chooz | Meuse | 2 PWR | 2900 | 329000000 | 0 | 0.00071 | 55.5 | 0.00071 |  |  | 6.9e-05 | 0.000374 |  |  |  |  | 0.000115 | 2.1e-05 | 1.2e-05 | 1.7e-05
FR06 | Dampierre-en-Burly | Loire | 4 PWR | 3600 | 329000000 | 0 | 0.00081 | 48.8 | 0.00081 |  |  | 0.00011 | 0.000248 |  |  |  |  | 0.000293 | 3.4e-05 | 1.2e-05 | 1.7e-05
FR07 | Fessenheim | Rhine | 2 PWR | 1800 | 329000000 | 0 | 0.00041 | 31.2 | 0.00041 |  |  | 4e-06 | 7.2e-05 |  |  |  |  | 0.000283 | 1.6e-05 | 5e-06 | 6e-06
FR08 | Flamanville | North Sea (Channel) | 2 PWR | 2600 | 329000000 | 0 | 0.00034 | 46.6 | 0.00034 |  |  | 0.000118 | 0.000108 |  |  |  |  | 2.7e-05 | 1.7e-05 | 5e-06 | 6e-06
FR09 | Golfech | Garonne | 2 PWR | 2600 | 329000000 | 0 | 0.0003 | 63.5 | 0.0003 |  |  | 5.6e-05 | 7.1e-05 |  |  |  |  | 1.8e-05 | 5.7e-05 | 1.1e-05 | 1.2e-05
FR10 | Gravelines | North Sea | 6 PWR | 5400 | 329000000 | 0 | 0.00288 | 70.6 | 0.00288 |  |  | 0.000591 | 0.000829 |  |  |  |  | 0.000807 | 0.000109 | 3.3e-05 | 5.6e-05
FR11 | Nogent-sur-Seine | Seine | 2 PWR | 2600 | 329000000 | 0 | 0.00033 | 54 | 0.00033 |  |  | 6e-05 | 8.5e-05 |  |  |  |  | 1.4e-05 | 3.8e-05 | 3.8e-05 | 3e-05
FR12 | Paluel | North Sea (Channel) | 4 PWR | 5200 | 329000000 | 0 | 0.0011 | 95 | 0.0011 |  |  | 0.000269 | 0.000602 |  |  |  |  | 1.8e-05 | 5e-05 | 1.2e-05 | 8.5e-05
FR13 | Penly | North Sea (Channel) | 2 PWR | 2600 | 329000000 | 0 | 0.00048 | 55.2 | 0.00048 |  |  | 0.000105 | 0.000246 |  |  |  |  | 1.7e-05 | 1.8e-05 | 7e-06 | 1.3e-05
FR14 | Saint Laurent | Loire | 2 PWR | 1800 | 329000000 | 0 | 0.00023 | 23.4 | 0.00023 |  |  | 3.1e-05 | 6e-05 |  |  |  |  | 6e-05 | 1.9e-05 | 7e-06 | 9e-06
FR16 | Civaux | Vienne | 2 PWR | 2900 | 329000000 | 0 | 0.00033 | 69.9 | 0.00033 |  |  | 1.9e-05 | 9.2e-05 |  |  |  |  | 5.4e-05 | 1e-05 | 4.6e-05 | 6.7e-05
FR18 | Le Blayais | Gironde Estuary | 4 PWR | 3600 | 329000000 | 0 | 0.00064 | 46.6 | 0.00064 |  |  | 0.000138 | 0.000107 |  |  |  |  | 8.7e-05 | 0.000208 | 1.2e-05 | 1.5e-05
NL01 | Borssele | Scheldt Estuary | 1 PWR | 520 | 3325000 | 0 | 3.43e-05 | 5.1 |  | ND | 3.43e-05 | 2.72e-07 | 1.82e-05 | 2.72e-08 | ND | 1.64e-06 | ND | 1.02e-07 | ND | ND | 1070000 | ND | NI
SE02 | Ringhals 1- 4 | Kattegat | 1 BWR | 881 | 6600000 | 1.05e-07 | 0.000114 | 0.46 | 4.3e-05 | 1.05e-07 | 0.000114 | 9.4e-06 | 4.1e-05 | 5.2e-07 | 4.4e-07 | 1e-05 |  | 4e-06 | 4.1e-06 |  | 2.5e-06
SE02 | Ringhals 1- 4 | Kattegat | 1 PWR | 865 | 6700000 | 2.19e-07 | 7.95e-05 | 10 | 5.32e-05 | 2.19e-07 | 7.95e-05 | 1.2e-05 | 4e-06 |  | 5.6e-07 | 3.26e-07 |  | 7e-06 | 1.5e-06 |  | 1.1e-06
SE02 | Ringhals 1- 4 | Kattegat | 1 PWR | 1063 | 8100000 | 1.36e-07 | 0.000498 | 11 | 0.000338 | 1.36e-07 | 0.000498 | 7e-05 | 1.9e-05 |  | 5.6e-08 | 1.4e-06 |  | 3.8e-05 | 3.2e-05 |  | 8.9e-08
SE02 | Ringhals 1- 4 | Kattegat | 1 PWR | 1123 | 8700000 | 1.32e-07 | 0.000146 | 16 | 7.33e-05 | 1.32e-07 | 0.000146 | 6.4e-05 | 3.5e-06 |  |  | 1.6e-07 |  | 4e-06 | 2.5e-06 |  | 4.2e-07
UK05b | Dungeness B | English Channel | 2 AGR | 520 | 3100 | 0 | 0.29462 | 256 | 0.00273 |  |  |  | 0.000852 | [7 empty] | 0.00204 |  | 0.289
UK06 | Hartlepool | North Sea | 2 AGR | 595 | 3150 | 0 | 1.5149 | 402 | 0.00132 |  |  |  | 0.000221 | [7 empty] | 0.00338 |  | 1.51
UK07a | Heysham 1 | Morecambe Bay | 2 AGR | 580 | 3150 | 0 | 0.40089 | 319 | 0.00504 |  |  |  | 0.000225 | [7 empty] | 0.000629 |  | 0.395
UK07b | Heysham 2 | Morecambe Bay | 2 AGR | 610 | 3400 | 0 | 0.17929 | 355 | 0.0134 |  |  |  | 0.000102 | [7 empty] | 0.000784 |  | 0.165
UK08b | Hinkley Point B | Severn Estuary | 2 AGR | 475 | 2640 | 0 | 0.2909 | 236 | 0.00324 |  |  |  | 9.95e-05 | [7 empty] | 0.000556 |  | 0.287
UK09b | Hunterston B | Firth of Clyde | 2 AGR | 475 | 2640 | 2.08e-05 | 0.336 | 148 | 0.00514 | 2.08e-05 |  |  | 0.00047 | [9 empty] | 0.33
UK11b | Sizewell B | North Sea | 1 PWR | 1198 | 3425 | 0 | 0.004612 | 11.2 | 0.0043 | [11 empty] | 0.000312
UK12 | Torness | North Sea | 2 AGR | 590 | 3400 | 3.81e-06 | 0.533 | 295 | 0.00434 | 3.81e-06 |  |  | 0.000363 | [9 empty] | 0.528
UK14 | Wylfa | Irish Sea | 2 GCR |  |  | 0 | 0.00601 | 0.957 | 0.00601
[6 empty] | 3.3112e-05 | 3.603

## table5
Table 5 Nuclear Fuel Reprocessing Plants (operational discharges)
Location Ref | Site | Discharges to | Type of fuel reprocessed | Capacity (t/y) | Tritium | Total-a | Total-b | C14 | S35 | Mn54 | Fe55 | Co57 | Co58 | Co60 | Ni63 | Zn65 | Sr89 | Sr90 | (Sr90 + Cs137) | (Zr + Nb95) | Tc99 | Ru103 | Ru106 | (Ru + Rh) 106 | Ag110m | Sb124 | Sb125 | I129 | Cs134 | Cs137 | Ce144 | (Ce + Pr) 144 | Pm147 | Eu152 | Eu154 | Eu155 | Np237 | Pu239+240 | Pu241 | Am241 | Cm242 | Cm 243+244 | Uranium (kg) | Notes
FR15 | La Hague | English Channel | PWR, BWR | 1600 | 11400 | 0.0161 | 2.3 | 7.62 |  | 0.00276 |  | 6.92e-05 | 0.000551 | 0.0817 | 0.0426 | 0.000141 |  | 0.085 |  |  | 0.0374 |  | 1.1 | 2.2 |  |  | 0.0436 | 1.3 | 0.0473 | 0.622 | 0.000308 | 0.000615 |  |  | 0.000671 | 9.96e-05 | 0.000264 | 0.00118 | 0.112 | 0.0019 | 1.54e-05 | 0.00156 | 18.2 | Discharges of the Centre de Stockage de la Manche (low and intermediate level waste disposal site) are included in the La Hague discharges.
UK15 | Sellafield | Irish Sea | Magnox, AGR, LWR |  | 1260 | 0.0791 | 5.07 | 2.91 | [5 empty] | 0.0114 |  |  |  | 0.253 |  | 0.0199 | 0.73 |  | 0.537 |  |  |  |  | 0.245 | 0.0347 | 2.22 | 0.09 | [5 empty] | 0.0384 | 0.0763 | 1.26 | 0.00522 |  | 0.00146 |  | The values of the liquid discharge limits for tritium and iodine-129 vary depending on the annual mass throughput of uranium in THORP (Thermal Oxide Reprocessing Plant), at Sellafield which was 280 teU for 2018. THORP reprocessing ended in November 2018.

## table6
Table 6 Nuclear Fuel Fabrication and Enrichment Plants (operational discharges) (in TBq/y)
Location Ref | Site | Discharges to | Type of Fuel | Capacity (t/y) | Production | Calculated Total-a | Calculated Total-b | Activity | Discharge Limit | TBq released | Notes
ES04 | Juzbado | River Tormes - Duero | PWR, BWR | 500 | 276.1 | 1.79e-05 |  | Total-a |  | 1.79e-05
NL03 | Urenco, Almelo | Municipal sewer system | Uranium enrichment |  |  | 7e-07 | 1.7e-06 | Total-a |  | 7e-07
NL03 | Urenco, Almelo | Municipal sewer system | Uranium enrichment |  |  |  |  | Total-b (excluding tritium) |  | 1.7e-06
DE19 | Gronau, Urenco | Dinkel via municipal sewer system | Uranium enrichment | 3900 | 3810 | 1.29e-08 | 3.47e-09 | Total-a |  | 1.29e-08
DE19 | Gronau, Urenco | Dinkel via municipal sewer system | Uranium enrichment |  |  |  |  | Total-b (excluding tritium) |  | 3.47e-09
DE19 | Gronau, Urenco | Dinkel via municipal sewer system | Uranium enrichment |  |  |  |  | Uranium-a |  | 2.337e-09
UK16 | Capenhurst | Irish Sea via Rivacre Brook and Mersey Estuary | Uranium enrichment |  |  | 1.502e-05 | 1.88e-06 | Uranium-a |  | 1.77e-06
UK16 | Capenhurst | Irish Sea via Rivacre Brook and Mersey Estuary | Uranium enrichment |  |  |  |  | Uranium daughters |  | 3.82e-06
UK16 | Capenhurst | Irish Sea via Rivacre Brook and Mersey Estuary | Uranium enrichment |  |  |  |  | Other-a |  | 9.43e-06
UK16 | Capenhurst | Irish Sea via Rivacre Brook and Mersey Estuary | Uranium enrichment |  |  |  |  | Tc99 |  | 1.88e-06
UK17 | Springfields | Irish Sea via River Ribble | GCR, AGR, PWR fuel fabrication |  |  | 0.0078 | 0.28 | Total-a |  | 0.0078
UK17 | Springfields | Irish Sea via River Ribble | GCR, AGR, PWR fuel fabrication |  |  |  |  | Total-b (excluding tritium) |  | 0.28
UK17 | Springfields | Irish Sea via River Ribble | GCR, AGR, PWR fuel fabrication |  |  |  |  | Uranium-a |  | 0.0065
UK17 | Springfields | Irish Sea via River Ribble | GCR, AGR, PWR fuel fabrication |  |  |  |  | Other-a |  | 0.00224
UK17 | Springfields | Irish Sea via River Ribble | GCR, AGR, PWR fuel fabrication |  |  |  |  | Tc99 |  | 0.0079
UK17 | Springfields | Irish Sea via River Ribble | GCR, AGR, PWR fuel fabrication |  |  |  |  | Th230 |  | 0.00045
UK17 | Springfields | Irish Sea via River Ribble | GCR, AGR, PWR fuel fabrication |  |  |  |  | Th232 |  | 0.000133
UK17 | Springfields | Irish Sea via River Ribble | GCR, AGR, PWR fuel fabrication |  |  |  |  | Np237 |  | 0.000336

## table7
Table 7 Research and Development Facilities (operational discharges) (in TBq/y)
Location Ref | Site | Discharges to | Reactors Number and Type | Installed Capacity | Calculated Total-a | Calculated Total-b | Radionuclides | TBq released per annum | Notes
CH05 | Paul Scherrer Institute | Aare |  |  | 8e-08 |  | a-emitting radionuclides
NL04 | Delft | Sewage system | 1 Research reactor | 2 MWth | 0 |  | a-emitting radionuclides | ND
NL05 | Petten | North Sea | 1 high flux and 1 low flux research reactor |  | 1.4e-05 |  | a-emitting radionuclides | 1.4e-05
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Ag110m | 2.4e-08
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Ag110m | 5e-08
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Ag110m | 0
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Am241 | 4.7e-09
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Au195 | 7e-07
NL05 | Petten | North Sea | 1 high flux and 1 low flux research reactor | 30kWth |  | 0.0068 | b/g-emitting radionuclides | 0.0068
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Ba133 | 1.9e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  | 0.000323 | b-and g-emitting radionuclides
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Be7 | 2.8e-05
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Bi207 | 5.6e-08
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Cd109 | 1.8e-07
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Ce141 | 7.1e-08
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Ce144 | 6.8e-08
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Ce144 | 0
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Co56 | 8.6e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Co57 | 7.3e-07
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Co58 | 3.9e-07
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Co58 | 2.7e-07
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Co58 | 0
BE03 | Mol | River Mol-Neet | 2 |  |  |  | Co60 | 8.4e-06
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Co60 | 1.1e-06
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Co60 | 4.5e-06
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Co60 | 8.4e-07
CH5 | Paul Scherrer Institute | Aare |  |  |  |  | Cr51 | 3.3e-07
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Cr51 | 1.1e-07
BE03 | Mol | River Mol-Neet | 2 |  |  |  | Cs134 | 8.25e-06
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Cs134 | 3.3e-06
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Cs134 | 4.1e-07
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Cs134 | 1.2e-06
BE03 | Mol | River Mol-Neet | 2 |  |  |  | Cs137 | 0.00013
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Cs137 | 0.00023
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Cs137 | 1.8e-05
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Cs137 | 1.59e-05
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Ga67 | 6.9e-08
NL04 | Delft | Sewage system | 1 Research reactor | 2 MWth |  |  | g-emitting radionuclides | 5.7e-06
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | I125 | 0
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | I131 | 5.6e-08
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | I131 | 0
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | In111 | 8.3e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Lu172 | 3.8e-07
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Lu173 | 1.8e-07
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Lu177 | 3.2e-05
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Mn54 | 2.6e-06
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Mn54 | 3.9e-10
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Mn56 | NA
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Na22 | 2e-06
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Nb95 | 2.2e-07
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Os185 | 8.9e-08
DE08b | Geesthacht | Elbe | 1 |  |  | 2.01e-06 | Other radionuclides | 2.01e-06
DE18 | Karlsruhe | Rhine | No reactors |  |  | 2e-06 | Other radionuclides | 2e-06
DE24 | HMI Berlin | Havel | 1 |  |  | 1.51e-08 | Other radionuclides | 1.51e-08
DE25 | Jülich | Rur | 1 |  |  | 0.000141 | Other radionuclides | 0.000141
DE | Mainz | Rhine | 1 TRIGA | 100 kW (therm) |  | 3.36e-07 | Other radionuclides | 3.36e-07
FR19 | Saclay | Etang de Saclay | 1 research reactor (Orphée) |  |  | 1.7e-05 | Other radionuclides | 1.7e-05
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Pu238 | 1.6e-09
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Pu238/Am241 | 2.2e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Pu239/240 | 2.2e-08
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Pu239/240 | 4.42e-08
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Pu241 | NA
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Rb83 | 1.2e-08
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Ru/Rh106 | NA
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Ru103 | 0
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Ru106 | 0
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Sb124 | 3.1e-07
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Sb125 | 2.4e-08
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Sb125 | 0
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Sc46 | 1e-07
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Se75 | 8.1e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Sr85 | 1.2e-08
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Sr90 | 1.48e-06
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Sr90 | 3.8e-07
BE03 | Mol | River Mol-Neet | 2 |  |  |  | Sr90/Y90 | 6.23e-05
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Sr90/Y90 | 1.2e-05
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Tb160 | 3.3e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Tb161 | 3.6e-06
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Ti44 | 1.8e-08
NL04 | Delft | Sewage system | 1 Research reactor | 2 MWth |  |  | Total
NL05 | Petten | North Sea | 1 high flux and 1 low flux research reactor |  |  |  | Total
DE08b | Geesthacht | Elbe | 1 |  | 1.23e-09 |  | Total a-activity | 1.23e-09
DE18 | Karlsruhe | Rhine | No reactors |  | 1.78e-06 |  | Total a-activity | 1.78e-06
DE24 | HMI Berlin | Havel | 1 |  |  |  | Total a-activity | ND
DE25 | Jülich | Rur | 1 |  | 1.59e-05 |  | Total a-activity | 1.59e-05
DE | Mainz | Rhine | 1 TRIGA | 100 kW (therm) | 9.1e-09 |  | Total a-activity | 9.1e-09
BE03 | Mol | River Mol-Neet | 2 |  |  |  | Total activitiy | 0.811
BE03 | Mol | River Mol-Neet | 2 | 129 | 2.07e-05 |  | Total-a | 2.07e-05
FR19 | Saclay | Etang de Saclay | 1 research reactor (Orphée) |  | 6.1e-05 |  | Total-a | 6.1e-05
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  | 0 |  | Total-a | NA
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  | 6.75e-08 |  | Total-a | 6.75e-08
BE03 | Mol | River Mol-Neet | 2 |  |  | 0.00025 | Total-b | 4.09e-05
NL04 | Delft | Sewage system | 1 Research reactor | 2 MWth |  | 3.95e-06 | Total-b | 3.95e-06
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  | 2.63e-05 | Total-b | 2.63e-05
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  | 1.85e-05 | Total-b | 1.85e-05
BE03 | Mol | River Mol-Neet | 2 |  |  |  | Tritium | 0.811
DE08b | Geesthacht | Elbe | 1 |  |  |  | Tritium | 2.12e-05
DE18 | Karlsruhe | Rhine | No reactors |  |  |  | Tritium | 0.12
DE24 | HMI Berlin | Havel | 1 |  |  |  | Tritium | 0.000565
DE25 | Jülich | Rur | 1 |  |  |  | Tritium | 0.362
DE | Mainz | Rhine | 1 TRIGA | 100 kW (therm) |  |  | Tritium | 5.06e-06
FR19 | Saclay | Etang de Saclay | 1 research reactor (Orphée) |  |  |  | Tritium | 0.0081
NL05 | Petten | North Sea | 1 high flux and 1 low flux research reactor | 50 MWth |  |  | Tritium | 0.21
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Tritium | 0.29
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Tritium | 0.00369
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Tritium | 0.084
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | U234/238 | 3.6e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Y88 | 4.6e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Yb169 | 6.6e-08
CH05 | Paul Scherrer Institute | Aare |  |  |  |  | Zn65 | 4.9e-06
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Zn65 | 0
NO02 | Kjeller | River Nitelva (Skagerrak) | 1 JEEP II, heavy water and cooled research reactor |  |  |  | Zr/Nb95 | 0
NO01 | Halden | River Tista (Skagerrak) | 1 BWR D2O as moderator |  |  |  | Zr95 | 1.1e-07
0

## table8
Table 8 Discharges associated with historical or legacy wastes (exceptional discharges) (in TBq/y)
Location Ref | Site | Discharges to | Facility type | Tritium | other radionuclides (1) | Calculated total-a | Calculated total-b | total a-activity | total b-activity (ex.Tritium) | C14 | Na22 | S35 | Co58 | Co60 | Zn65 | Sr90 | Zr/Nb95 | Tc99 | Ru106 | Ag110m | Sb125 | I129 | Cs134 | Cs137 | Ce144 | Np237 | Pu239/240 | Pu241 | Am241 | Cm243/244 | Uranium (kg) | Notes
DE01a | Biblis A | Rhine | 1 PWR | 1.28 | 6.249e-05 | 2.14e-08 | 6.249e-05 | 2.14e-08 | 6.249e-05 |  |  |  | ND | 4.29e-05 | ND | ND | ND |  | ND | ND | 4.39e-06 |  | ND | 1.01e-05 | ND
DE01b | Biblis B | Rhine | 1 PWR | 0.939 | 1.7059e-05 | ND | 1.7059e-05 | ND | 1.7059e-05 |  |  |  | ND | 6.11e-06 | ND | ND | ND |  | ND | ND | ND |  | ND | 1.29e-07 | ND
DE03 | Brunsbüttel | Elbe | 1 BWR | 0.00019 | 1.6872e-05 | ND | 1.6872e-05 | ND | 1.6872e-05 |  |  |  | ND | 2.72e-06 | ND | 2.52e-07 | ND |  | ND | ND | ND |  | ND | 6.64e-06 | ND
DE04 | Grafenrheinfeld | Main | 1 PWR | 0.01622 | 5.5717e-06 | 1.266e-10 | 5.5717e-06 | 1.266e-10 | 5.5717e-06 |  |  |  | ND | 3.145e-06 | ND | ND | ND |  | ND | ND | 2.574e-08 |  | ND | ND | ND
DE08a | Krümmel/Geesthacht | Elbe | 1 BWR | 7.7e-05 | ND | 1.23e-09 | ND | 1.23e-09 | ND |  |  |  | ND | ND | ND | ND | ND |  | ND | ND | ND |  | ND | ND | ND
DE09b | Lingen | Ems | 1 BWR | 1.19e-06 | 6.815e-20 | 1.35e-11 | 6.815e-20 | 1.35e-11 | 6.815e-20 |  |  |  | ND | ND | ND | ND | ND |  | ND | ND | ND |  | ND | 6.16e-20 | ND
DE10 | Mülheim-Kärlich | Rhine | 1 PWR | 1.97e-05 | 6.06e-07 | ND | 6.06e-07 | ND | 6.06e-07 |  |  |  | ND | 1.61e-07 | ND | ND | ND |  | ND | ND | ND |  | ND | ND | ND
DE11a | Neckar-Westheim 1 | Neckar | 1 PWR | 0.17 | ND | ND | ND | ND | ND |  |  |  | ND | ND | ND | ND | ND |  | ND | ND | ND |  | ND | ND | ND
DE12 | Obrigheim | Neckar | 1 PWR | 0.00145 | 3.3128e-06 | 3.84e-08 | 3.3128e-06 | 3.84e-08 | 3.3128e-06 |  |  |  | ND | 9.28e-08 | ND | ND | ND |  | ND | ND | ND |  | ND | ND | ND
DE13a | Philippsburg 1 | Rhine | 1 BWR | 0.0286 | 1.4466e-05 | 2.86e-08 | 1.4466e-05 | 2.86e-08 | 1.4466e-05 |  |  |  | 1.86e-07 | 3.75e-06 | ND | ND | ND |  | ND | 2.1e-07 | 1.47e-06 |  | ND | 1.35e-18 | ND
DE14 | Rheinsberg | Havel | 1 PWR | ND | 2.2193e-06 | 1e-07 | 2.2193e-06 | 1e-07 | 2.2193e-06 |  |  |  | ND | 9.3e-08 | ND | 1.1e-07 | ND |  | ND | ND | ND |  | ND | 5.6e-19 | ND
DE15 | Stade | Elbe | 1 PWR
DE16 | Rodenkirchen/Unterweser | Weser | 1 PWR | 3.29 | 2.592e-05 | 9.92e-07 | 2.592e-05 | 9.92e-07 | 2.592e-05 |  |  |  | ND | 9.81e-06 | ND | ND |  |  | ND | ND | 1.45e-05 |  | ND | 1.61e-06 | ND
DE17 | Würgassen/Beverungen | Weser | 1 BWR
DK01 | Risø | Kattegat through Roskilde Fjord | No reactors | 0.00356 |  | 1.5e-06 | 0.00357 | 1.5e-06 | 6.7e-06
ES02 | José Cabrera | Tagus | 1PWR | 0.000103 | 0.000544 | 6.57e-07 | 0.000544 | [5 empty] | 0 | 3.85e-05 | 0 | 1.41e-05 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.000417 | 0
FR04 | Chinon | Loire | 3 UNGG + 1 Laboratory | 3.05e-05 | 1.37e-05 | 0 | 1.37e-05 |  | 1.37e-05 | 1.29e-05 |  |  |  | 2.51e-07 | [9 empty] | 5.6e-07
FR05 | Chooz | Meuse | 1 PWR | 0.000343 | 0.000553 | 0 | 0.000553 |  | 0.000553 | 0.000214 |  |  |  | 8.2e-06 |  | 3.27e-06 |  | 2.46e-07 | [5 empty] | 0.000294
FR15 | La Hague | English Channel | PWR + BWR | 0 |  | 0.000847 | 0.0181 | 0.000847 | 0.0181 |  |  |  |  | 1.04e-07 |  | 0.00414 |  | 0.00129 | [5 empty] | 0.03 |  |  |  | 0.00504
FR17 | Fontenay-aux-Roses | Seine | No reactors | 3.6e-06 |  | 4e-07 | 3.1e-07 | 4e-07 | 3.1e-07
UK01 | Berkeley | Severn | 2 GCR | 3.27e-06 | 1.2e-06 | 0 | 1.2e-06 | [16 empty] | 7.78e-06
UK02 | Bradwell | North Sea | 2 GCR | Nil | Nil | 0 | 0 | [16 empty] | Nil
UK04 | Chapelcross | Solway Firth | 4 GCR | 0.00519 | 0.00237 | 3.8e-06 | 0.00237 | 3.8e-06
UK05a | Dungeness A | English Channel | 2 GCR | 0.024 | 0.0186 | 0 | 0.0186 | [16 empty] | 0.0167
UK08a | Hinkley Point A | Severn | 2 GCR | 7.9e-05 | 0.000362 | 0 | 0.000362 | [16 empty] | 0.000117
UK09a | Hunterston A | Firth of Clyde | 2 GCR | 7.7e-05 | 0.000509 | 0.000353 | 0 | 0.000353 | [15 empty] | 0.000188 |  |  |  | 5e-05
UK10 | Oldbury | Severn Estuary | 2 GCR | 0.151 | 0.0447 | [18 empty] | 0.0382
UK11a | Sizewell A | North Sea | 2 GCR | 0.035 | 0.0669 | 0 | 0.0669 | [16 empty] | 0.109
UK13 | Trawsfynydd | Trawsfynydd | 2 GCR | 0.00061 | 0.00046 | 0 | 0.00046 | [16 empty] | 0.00023
UK15 | Sellafield | Irish Sea | 3 GCR, reprocessing,waste management | 13.1 |  | 0.0826 | 5.38 | 0.0826 | 5.38 | 0.0188 |  |  |  | 0.00863 |  | 1.03 | 0.0375 | 0.202 | 0.00205 |  |  | 0.0556 | 0.00198 | 2.13 | 0.0023 | 0.00809 | 0.0625 | 0.616 | 0.0142 | 9.49e-06
UK18 | Dounreay | Pentland Firth | No reactors | 0.018 | 0.0067 | 0.00015 | 0 | 0.00015 | [7 empty] | 0.039 | [7 empty] | 0.0029
UK19 | Harwell | River Thames | No reactors | 0.00214 |  | 4.84e-06 | 2.19e-05 | 4.84e-06 | 2.19e-05 |  |  |  |  | 2.27e-07 | [9 empty] | 3.6e-06
UK20 | Winfrith | Weymouth Bay | No reactors | 3.79 | 0.00027 | 7.9e-06 | 0.000702 | 7.9e-06 | [15 empty] | 0.000432