## 2019
ID No | Country | Name | Distance to coast | Operator | Device Type | No of Devices | Current Status | Capacity | Foundation/anchor type | Water depth | Height | EIA | Remarks
Be001 | Belgium | C-Power | 27 | C-Power | wind turbine | 54 | operational | 325.2 | gravity-based/jacket | 10-25 | 130 | Yes | Project layout in 2 blocks,Six 5 MW turbines operational from 2008 and thirty 6 MW turbines operational from 2012, Installation of remainder of eightteen 6 MW windturbines during 2013. Park is fully operational since september 2013.
Be002 | Belgium | Northwind | 37 | Parkwind | wind turbine | 72 | operational | 216 | monopile | 25-50 | 130 | Yes | (old name: Eldepasco)
Be003 | Belgium | Belwind phase 1 | 46 | Parkwind | wind turbine | 56 | operational | 171 | monopile | 25-50 | 126 | Yes | 55 turbines of Phase I installed in 2010. Operational from end 2010. September 2013: installation Alstom Haliade 6MW: operational from september 2014. In 2015 Belwind was partially transferred to Nobelwind. The partial transfer was granted on 7 October 2015.
Be004 | Belgium | Rentel | 31 | Rentel | wind turbine | 42 | operational | 309 | monopile | 25-50 | 130 | Yes | Area concession granted in June 2009. Environmental permit granted on 8/2/2013.
Be005 | Belgium | Norther | 22.5 | Norther | wind turbine | 44 | operational | 370 | monopile | 10-25 | 150 | Yes | Area concession granted in June 2009. Environmental permit granted on 8/2/2013, Environmental permit cables granted on 8 april 2014. Under construction.
Be006 | Belgium | Seastar | 38 | SeaMade | wind turbine | 30 | authorised | 252 | monopile |  | 150 | Yes | Area concession granted in June 2012. Environmental permit granted on 7 february 2014. Water depth 20-25
Be007 | Belgium | Mermaid | 50 | SeaMade | wind turbine | 28 | authorised | 235.2 | monopile | 25-50 | 150 | Yes | Area concession granted in July 2012. Application environmental permit recevied in september 2014 .In addition wave energy converters will be installed amongs the wind turbine. In 2015 Mermaid was partially transferred to Northwester 2. The modalities for the implementation of the partial transfer were granted on 12 May 2015.
Be008 | Belgium | Northwester 2 | 46 | Parkwind | wind turbine | 23 | authorised | 219 | monopile | 25-50 | 150 | Yes | Modalities for the implementation of the partial transfer of Mermaid to Northwester 2 granted on 12 May 2015.
Be009 | Belgium | Belwind phase 2 (Nobelwind) | 48 | Parkwind | wind turbine | 51 | operational | 165 | monopile | 25-50 | 140 | Yes
De001 | Germany | alpha ventus | 55 | DOTI GmbH & Co.KG (Stiftung Offshore Windenergie) | wind turbine | 12 | operational | 62 | monopile/jacket | 25-50 | 150 | Yes
De002 | Germany | DanTysk | 66 | Dan Tysk Offshore Wind GmbH | wind turbine | 80 | operational | 288 | monopile |  | 130 | Yes | Water depth 10-25/25-50
De003 | Germany | Borkum Riffgrund West | 68 | Borkum Riffgrund West 1 GmbH (Orsted und Blitz H11-207 GmbH) | wind turbine | 45 | authorised | 420 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 120 | Yes
De004 | Germany | Borkum Riffgrund 1 | 50 | Borkum Riffgrund I Offshore Windpark A/S GmbH&Co oHG (Orsted) | wind turbine | 78 | operational | 311 | monopile |  | 115 | Yes | Water depth 10-25/25-50
De005 | Germany | Amrumbank West | 55 | Amrumbank West GmbH | wind turbine | 80 | operational | 303 | monopile/tripod/tripile/jacket/gravity-based/other | 10-25 | 130 | Yes
De006 | Germany | Nordsee Ost | 56 | Windpark Nordsee Ost GmbH (Essent Wind Nordsee Ost Planungs- und Betriebsgesellschaft mbH, ein Unternehmen der RWE) | wind turbine | 48 | operational | 288 | jacket | 10-25 | 140 | Yes
De008 | Germany | Butendiek | 53 | wpd nordsee offshore GmbH | wind turbine | 80 | operational | 288 | monopile | 10-25 | 130 | Yes
De009 | Germany | GlobalTech I | 104 | Global Tech I Offshore Wind GmbH (Wetfeet Offshore Windenergy GmbH) | wind turbine | 80 | operational | 400 | tripod/tripile | 25-50 | 150 | Yes
De011 | Germany | EnBW Hohe See | 98 | EnBW EnBW Hohe See GmbH & Co. KG (EnBW Nordsee Offshore GmbH) | wind turbine | 71 | operational | 500 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 110 | Yes
De012 | Germany | Sandbank | 84 | Sandbank Offshore Wind GmbH (Sandbank Power GmbH & Co, KG) | wind turbine | 72 | operational | 288 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 100 | Yes
De013 | Germany | Gode Wind 01 | 39 | Gode Wind I GmbH (Orsted) | wind turbine | 55 | operational | 320 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 125 | Yes
De017 | Germany | EnBW He dreiht | 96 | EnBW Nordsee Offshore GmbH | wind turbine | 75 | authorised | 900 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 110 | Yes
De018 | Germany | Nordergruende | 16 | wpd Offshore GmbH (Energiekontor GmbH) | wind turbine | 18 | operational | 111 | monopile/tripod/tripile/jacket/gravity-based/other |  | 150 | Yes | Water depth 0-10/10-25
De019 | Germany | Riffgat | 28 | Offshore Windpark Riffgat GmbH & Co, KG (ENOVA Offshore Projektentwicklungs-GmbH & Co.KG) | wind turbine | 30 | operational | 108 | monopile/tripod/tripile/jacket/gravity-based/other | 10-25 | 180 | Yes
De021 | Germany | BARD Offshore 1 | 100 | Bard Engineering GmbH | wind turbine | 80 | operational | 400 | tripod/tripile | 25-50 | 110 | Yes
De022 | Germany | Deutsche Bucht | 98 | Northland Deutsche Bucht GmbH (British Wind Energy GmbH) | wind turbine | 33 | operational | 269 | tripod/tripile | 25-50 | 110 | Yes
De024 | Germany | Merkur Offshore (MEG Offshore I) | 56 | Merkur Offshore GmbH | wind turbine | 66 | operational | 400 | tripod/tripile | 25-50 | 150 | Yes
De025a | Germany | Trianel Windpark Borkum Phase 1 | 59 | Infrastruktur Windkraftwerk Borkum GmbH & Co. KG (Trianel Windkraftwerk Borkum II GmbH & Co, KG) | wind turbine | 40 | operational | 200 | tripod/tripile |  | 150 | Yes | Water depth 10-25/25-50
De025b | Germany | Trianel Windpark Borkum Phase 2 | 61 | Infrastruktur Windkraftwerk Borkum GmbH & Co. KG (Trianel Windkraftwerk Borkum II GmbH & Co, KG) | wind turbine | 32 | operational | 200 | tripod/tripile |  | 150 | Yes | Water depth 10-25/25-50
De026 | Germany | Nordsee One | 41 | Nordsee One GmbH | wind turbine | 54 | operational | 332 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 150 | Yes
De028 | Germany | Borkum Riffgrund 2 | 50 | Orsted Borkum Riffgrund II GmbH (Dong Energy Borkum Riffgrund II GmbH) | wind turbine | 56 | operational | 495 | monopile/other | 25-50 | 199 | Yes | 36 monopiles and 20 suction bucket jackets
De029 | Germany | OWP West | 67 | Northern Energy OWP West GmbH (Orsted), (Norderland Projekt / Nothern Energy Unternehmensgruppe) | wind turbine | 41 | authorised | 240 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 150 | Yes
De030 | Germany | Borkum Riffgrund West II | 69 | Orsted Borkum Riffgrund West II GmbH (DONG Energy Borkum Riffgrund West II GmbH) | wind turbine | 43 | application | 240 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 160 | Yes
De031 | Germany | Kaskasi II | 56 | RWE Innogy Kaskasi GmbH | wind turbine | 38 | application | 325 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 130 | Yes
De032 | Germany | Gode Wind 02 | 45 | Gode Wind II GmbH (Orsted) | wind turbine | 42 | operational | 252 | monopile | 25-50 | 150 | Yes
De034 | Germany | Veja Mate | 97 | Veja Mate Offshore Project GmbH | wind turbine | 67 | operational | 400 | tripod/tripile | 25-50 | 110 | Yes
De036 | Germany | Meerwind Sued/Ost | 53 | Wind MW GmbH | wind turbine | 80 | operational | 288 | monopile/tripod/tripile/jacket/gravity-based/other |  | 110 | Yes | Water depth 10-25/25-50
De037 | Germany | Albatros | 111 | EnBW Albatros GmbH | wind turbine | 16 | authorised | 116 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 165 | Yes
De074 | Germany | Gode Wind III | 39 | Gode Wind 03 GmbH (Orsted), (PNE Gode Wind III GmbH) | wind turbine | 14 | authorised | 110 | monopile/tripod/tripile/jacket/gravity-based/other | 25-50 | 150 | Yes
De115 | Germany | Gode Wind 04 | 40 | Gode Wind 03 GmbH (Orsted) (Gode Wind II GmbH (Orsted)) | wind turbine | 42 | authorised | 132 | monopile | 25-50 | 150 | Yes
De117 | Germany | N-3.5 | 42 |  | wind turbine |  | designated | 420 |  | 25-50
De118 | Germany | N-3.6 | 47 |  | wind turbine |  | designated | 480 |  | 25-50
De119 | Germany | N-3.7 | 41 |  | wind turbine |  | designated | 225 |  | 25-50
De120 | Germany | N-3.8 | 44 |  | wind turbine |  | designated | 375 |  | 25-50
De121 | Germany | N-6.6 | 94 |  | wind turbine |  | designated | 630 |  | 25-50
De122 | Germany | N-6.7 | 102 |  | wind turbine |  | designated | 270 |  | 25-50
De123 | Germany | N-7.2 | 94 |  | wind turbine |  | designated | 900 |  | 25-50
De124 | Germany | N-9.1 | 109 |  | wind turbine |  | designated | 600 |  | 25-50
ES001 | Spain | Motriku | 0 | Ente Vasco de la EnergÃ­a (EVE) | wave (coastal insfrastructure) | 16 | operational | 0.3 |  | 0-10 | 0 |  | The Mutriku Breakwater Wave Plant in the bay of Mutriku (in the Bay of Biscay)is the world's first breakwater wave power plant with a multiple turbine arrangement. It was inaugurated on July 8, 2011
ES002 | Spain | BIMEP | 1.7 | Variable - manufacturers of ocean energy | wind turbine |  | operational | 20 |  | 50-100 |  | Yes | Since 2015 BIMEP provides WEC manufacturers with the opportunity to install their equipment in open sea conditions. http://bimep.com/en/ Number of devices variable.
NL001 | Netherlands | OWF Prinses Amalia | 23 | Eneco | wind turbine | 60 | operational | 120 | monopile | 10-25 | 115
NL002 | Netherlands | OWF Egmond aan Zee | 18 | Noordzeewind | wind turbine | 36 | operational | 108 | monopile | 10-25 | 108
NL003 | Netherlands | OWF Luchterduinen | 23 | Eneco | wind turbine | 43 | operational | 129 | monopile | 10-25 | 137
NL004 | Netherlands | OWF Gemini ZeeEnergie | 85 | Northland Power | wind turbine | 75 | operational | 300 | monopile |  | 155 |  | Water depth 15-38
NL005 | Netherlands | OWF Gemini Buitengaats | 86 | Northland Power | wind turbine | 75 | operational | 301 | monopile |  | 155 |  | Water depth 15-38
NL006 | Netherlands | OWF Borssele I | 22 | Orsted | wind turbine | 47 | authorised | 350 | monopile |  | 189 |  | Water depth 15-38
NL007 | Netherlands | OWF Borssele II | 22 | Orsted | wind turbine | 47 | authorised | 351 | monopile |  | 189 |  | Water depth 15-38
NL008 | Netherlands | OWF Borssele III | 22 | Consortium Shell, Van Oord, Eneco en Mitsubishi/DGE | wind turbine | 37 | authorised | 352 | monopile |  | 190 |  | Water depth 15-32
NL009 | Netherlands | OWF Borssele IV | 22 | Consortium Shell, Van Oord, Eneco en Mitsubishi/DGE | wind turbine | 40 | authorised | 353 | monopile |  | 190 |  | Water depth 15-33
NL010 | Netherlands | OWF Borssele V | 22 | Two Towers | wind turbine | 2 | authorised | 19 | monopile |  | 190 |  | Water depth 15-38
NL011 | Netherlands | OWF Hollandse Kust (zuid) I | 22 | Vattenfall | wind turbine |  | authorised | 360 | monopile |  | 189 |  | Water depth 15-30
NL012 | Netherlands | OWF Hollandse Kust (zuid) II | 22 | Vattenfall | wind turbine |  | authorised | 360 | monopile |  | 189 |  | Water depth 15-30
NL013 | Netherlands | OWF Hollandse Kust (zuid) III | 16 | Vattenfall | wind turbine |  | application | 360 | monopile |  | 189 |  | Water depth 15-30
NL014 | Netherlands | OWF Hollandse Kust (zuid) IV | 16 | Vattenfall | wind turbine |  | application | 360 | monopile |  | 189 |  | Water depth 15-30
NL015 | Netherlands | OWF Hollandse Kust (noord) V | 16 |  | wind turbine |  | application
SE1 | Sweden | Stora Middelgrund | 35 | Universal Wind | wind turbine | 110 | authorised | 800 |  |  | 200 | Yes | Near the Danish border, prolonged authorisation in 2014, application for Natura 2000 permit. Water depth 0-30
SE2 | Sweden | Risholmen - Arendal | 1 | Goteborg Energi | wind turbine | 3 | refused | 9 | other | 0-10 | 150 | Yes | turbines located in water refused, will be located on land instead. Foundation type concrete.
SE3 | Sweden | Lovstaviken | 0 | Falkenberg Energi | wind turbine | 5 | operational | 11.5 | monopile/gravity | 0-10 | 110 | Yes | Wind-farm consisting of 5 wind turbines of which 4 are located on land
SE4 | Sweden | Skottarevet | 7.5 | Favonius | wind turbine | 30 | refused | 180 |  | 10-25 | 0 | Yes | refused by Court of Appeal, same project as Kattegatt offshore which is now authorised
SE5 | Sweden | Kattegatt offshore | 8 | Favonius AB | wind turbine | 50 | authorised | 300 |  |  | 190 | Yes | authorised by Court of Appeal 2015-12-08. Water depth 20-31
SE6 | Sweden | Vindplats Goteborg | 1 | Goteborg Energi AB | wind turbine | 15 | refused | 90 |  | 0-10 | 190 | Yes | refused by District Court, not subject to appeal to Court of Appeal. Water depth 0-15
UK001 | UK | Aberdeen Bay Demo | 1.3347 | Aberdeen Offshore Wind Farm Limited | wind turbine | 11 | operational | 92.4 | jacket |  | 202 | Yes | Suction bucket. Water depth 20-30
UK002 | UK | Barrow Wind Farm | 7.1607 | Barrow Offshore Wind Limited | wind turbine | 30 | operational | 90 | monopile | 10-25 | 165 | Yes
UK003 | UK | Beatrice | 13.3612 | Beatrice Offshore Wind Farm Limited | wind turbine | 84 | authorised | 588 | jacket | 25-50 | 198.4 | Yes
UK004 | UK | Bluemull Sound | 0.15106 | Nova Innovation Ltd | tidal stream (turbines) | 3 | operational | 0.3 | gravity-based | 25-50 |  |  | Lease - Marine. Height and EIA to be confirmed.
UK005 | UK | Blyth Demo (Phase 1) Wind Farm | 4.739 | Blyth Offshore Demonstrator Limited | wind turbine | 5 | operational | 41.5 | gravity-based | 25-50 | 191.5 | Yes
UK006 | UK | Blyth Demo (Phase 2 & 3) Wind Farm | 5.3756 | Blyth Offshore Demonstrator Limited | wind turbine | 10 | authorised | 58.4 |  | 50-100 | 0 | Yes | Foundation type to be confirmed.
UK007 | UK | Blyth Wind Farm | 0.4841 | E.ON C&R UK Blyth Limited | wind turbine | 2 | operational | 3.8 | monopile | 0-10 | 106 | Yes
UK008 | UK | Brims Tidal Array | 0.37661 | Brims Tidal Array Limited | tidal stream (turbines) | 200 | authorised | 200 | gravity-based | 50-100 |  | Yes | Agreement / Option for Lease. Height to be confirmed.
UK009 | UK | Brough Head | 0 | Brough Head Wave Farm Ltd | wave (floating) | 50 | designated | 50 |  | 10-25 | 4.5 | Yes | A second phase may be added to the first phase of development. Foundation type to be confirmed
UK010 | UK | Brough Ness | 0.27287 | Marine Current Turbines Ltd | tidal stream (turbines) | 66 | out of service | 100 |  |  |  | Yes | Appears to be dormant/cancelled. Foundation type, water depth, height to be confirmed
UK011 | UK | Hywind Scotland Pilot Park | 22.3034 | Hywind (Scotland) Limited | wind turbine | 5 | operational | 30 | other | 100 | 178 | Yes | Floating, spar floater
UK012 | UK | Burbo Bank Extension Wind Farm | 6.8098 | Dong Energy Burbo Extension (UK) Limited | wind turbine | 32 | operational | 259 | monopile | 10-25 | 187 | Yes
UK013 | UK | Burbo Bank Wind Farm | 6.0197 | DONG Energy Burbo (UK) Limited | wind turbine | 25 | operational | 90 | monopile | 0-10 | 190.5 | Yes
UK014 | UK | Creyke Beck A Wind Farm | 130.9576 | Doggerbank Project 1 Bizco Limited | wind turbine |  | authorised | 1200 |  | 25-50 | 315 | Yes | turbine foundation type is not decided. Number of devices, foundation type to be confirmed
UK015 | UK | Creyke Beck B Wind Farm | 130.8452 | Doggerbank Project 4 Bizco Limited | wind turbine |  | authorised | 1200 |  | 10-25 | 315 | Yes | turbine foundation type is not decided. Number of devices, foundation type to be confirmed
UK016 | UK | Docking Shoal Met Mast | 18.8878 | Centrica Renewable Energy Limited | other | 1 | decommissioned |  | monopile | 0-10 | 0 | No | anemometry mast. Capacity to be confirmed.
UK017 | UK | Dogger Bank East Met Mast | 205.7513 | Forewind Limited | other | 1 | decommissioned |  | other | 25-50 | 110 | No | anemometry mast; suction bucket foundation. Capacity to be confirmed.
UK018 | UK | Dogger Bank West Met Mast | 148.3325 | Forewind Limited | other | 1 | decommissioned |  | other | 10-25 | 110 | No | anemometry mast; suction bucket foundation. Capacity to be confirmed.
UK019 | UK | Dudgeon Wind Farm | 31.9806 | Dudgeon Offshore Wind Limited | wind turbine | 67 | operational | 402 | monopile | 10-25 | 187 | Yes
UK020 | UK | East Anglia Northern Met Mast (ZE) | 100.1018 | East Anglia Offshore Wind Limited | other | 1 | operational |  | other | 10-25 | 110 | No | anemometry mast; suction bucket foundation. Capacity to be confirmed.
UK021 | UK | East Anglia One North Wind Farm | 36.1215 | ScottishPower Renewables (UK) Limited | wind turbine |  | authorised | 800 |  | 25-50 | 0 | Yes | turbine number and foundation type is not decided. Number of devices, foundation type to be confirmed
UK022 | UK | East Anglia One Wind Farm | 48.3696 | East Anglia One Limited | wind turbine | 102 | authorised | 714 | jacket | 25-50 | 197 | Yes
UK023 | UK | East Anglia Southern Met Mast (1B) | 56.309 | East Anglia Offshore Wind Limited | other | 1 | operational |  | other | 25-50 | 110 | No | anemometry mast; suction bucket foundation. Capacity to be confirmed.
UK024 | UK | East Anglia Three Wind Farm | 67.839 | East Anglia Three Limited | wind turbine |  | authorised | 1200 |  | 25-50 | 247 | Yes | turbine foundation type is not decided. Number of devices 100-172. Foundation type to be confirmed
UK025 | UK | East Anglia Two Wind Farm | 29.5944 | ScottishPower Renewables (UK) Limited | wind turbine |  | application | 800 |  | 25-50 | 0 | Yes | turbine number and foundation type is not decided. Number of devices, foundation type to be confirmed
UK026 | UK | EMEC Bilia Croo | 0 | EMEC Ltd | wave (floating) |  | operational |  |  | 50-100 |  |  | Wave test site. Number of devices, capacity, foundation type, height and EIA to be confirmed
UK027 | UK | EMEC Fall of Wareness | 0 | EMEC Ltd | tidal stream (turbines) |  | authorised | [5 empty] | Lease - Marine. Number of devices, capacity, foundation type, water depth, height and EIA to be confirmed
UK028 | UK | EMEC Scapa Flow | 0.24006 | EMEC Ltd | wave (floating) |  | operational | [5 empty] | Wave test site (not grid connected). Number of devices, capacity, foundation type, water depth, height and EIA to be confirmed
UK029 | UK | EMEC Shapinsay Sound | 0.45435 | EMEC Ltd | tidal stream (turbines) |  | authorised |  | other | 10-25 |  | No | Test Site. Number of devices, capacity, height to be confirmed
UK030 | UK | EMEC Stronsay Firth | 0.18157 | EMEC Ltd | tidal stream (turbines) |  | application |  | other |  |  |  | Test Site. Number of devices, capacity, water depth, height and EIA to be confirmed
UK031 | UK | FabTest, Falmouth Bay | 2.2382 | Falmouth Harbour Comissioners | wave (floating) |  | operational | 3 |  | 25-50 | 0 |  | Wave test site. Variable number of devices. EIA to be confirmed.
UK032 | UK | Fair Head | 1.0073 | Fair Head Tidal Energy Park Limited | tidal stream (turbines) |  | application | 100 |  | 25-50 | 6 |  | Mulitphase project 4 turbines deployed initialy, then further turbines to be deployed if environmental conditions met. Number of devices, foundation type and EIA to be confirmed
UK033 | UK | Firth of Forth Met Mast | 29.7523 | Seagreen Wind Energy Limited | other | 1 | operational |  | other | 25-50 | 0 |  | anemometry mast, floating. Capacity and EIA to be confirmed.
UK034 | UK | Galloper Wind Farm | 28.2229 | Galloper Wind Farm Limited | wind turbine | 56 | operational | 336 | monopile | 25-50 | 180.5 | Yes
UK035 | UK | Galson (Lewis 10MW) | 0 | Lewis Wave Power Limited | wave (floating) | 10 | designated | 10 |  |  | 4.5 | Yes | Agreement / Option for Lease. Foundation type, water depth to be confirmed
UK036 | UK | Greater Gabbard Wind Farm | 24.7784 | Greater Gabbard Offshore Winds Limited | wind turbine | 140 | operational | 504 | monopile | 25-50 | 187 | Yes
UK037 | UK | Gunfleet Sands Demo Wind Farm | 8.4384 | Dong Energy Gunfleet Sands Demo (UK) Limited | wind turbine | 2 | operational | 12 | monopile | 10-25 | 144 | Yes
UK038 | UK | Gunfleet Sands I Wind Farm | 6.3429 | Gunfleet Sands Limited | wind turbine | 30 | operational | 108 | monopile | 0-10 | 183 | Yes
UK039 | UK | Gunfleet Sands II Wind Farm | 8.3334 | Gunfleet Sands II Limited | wind turbine | 18 | operational | 65 | monopile | 0-10 | 183 | Yes
UK040 | UK | Gwynt y Mor Wind Farm | 12.3458 | Gwynt y Mor Offshore Windfarm Limited | wind turbine | 160 | operational | 576 | monopile | 10-25 | 191 | Yes
UK041 | UK | Holyhead Deep | 4.8392 | Minesto UK Limited | tidal stream (kites) | 20 | authorised | 10 |  | 50-100 | 0 | Yes | Foundation type to be confirmed
UK042 | UK | Hornsea Met Mast | 115.5213 | Smart Wind Limited | other | 1 | operational |  | other | 25-50 | 103 | No | anemometry mast; twisted Jacket foundation. Capacity to be confirmed.
UK043 | UK | Hornsea Project 1 (Heron East) Wind Farm | 111.2445 | Heron Wind Limited | wind turbine | 58 | authorised | 406 | monopile | 25-50 | 200 | Yes
UK044 | UK | Hornsea Project 1 (Heron West) Wind Farm | 102.1983 | Heron Wind Limited | wind turbine | 58 | authorised | 406 | jacket | 25-50 | 200 | Yes
UK045 | UK | Hornsea Project 1 (Njord) Wind Farm | 105.5462 | Njord Limited | wind turbine | 58 | authorised | 406 | monopile | 25-50 | 200 | Yes
UK046 | UK | Hornsea Project 2 (HOW02) Wind Farm | 89.4547 | Breesea Limited | wind turbine | 300 | authorised | 1386 |  | 25-50 | 276 | Yes | turbine foundation type is not decided. Foundation type to be confirmed
UK047 | UK | Hornsea Project 3 (HOW03) Wind Farm | 121.1159 | DONG Energy Hornsea Project Three (UK) Limited | wind turbine |  | designated | 1600 |  | 25-50 | 0 | Yes | turbine foundation type is not decided. Number of devices, foundation type to be confirmed
UK048 | UK | Hornsea Project 4 (HOW04) Wind Farm | 65.4526 | Smart Wind SPC6 Limited | wind turbine |  | designated | 1200 |  | 25-50 | 325 | Yes | turbine foundation type is not decided. Number of devices, foundation type to be confirmed
UK049 | UK | Humber Gateway Wind Farm | 7.9372 | E.ON C&R UK Humber Wind Limited | wind turbine | 73 | operational | 219 | monopile | 10-25 | 192 | Yes
UK050 | UK | Inch Cape Met Mast | 22.5693 | Inch Cape Offshore Limited | other | 1 | operational |  | gravity-based | 25-50 | 169 | No | anemometry mast. Capacity to be confirmed.
UK051 | UK | Inch Cape Wind Farm | 15.0239 | Inch Cape Offshore Limited | wind turbine | 72 | application |  |  | 25-50 | 215 | Yes | revised design application, turbine foundation type is not decided. Capacity, foundation type to be confirmed.
UK052 | UK | Inner Dowsing Wind Farm | 5.0628 | Inner Dowsing Wind Farm Limited | wind turbine | 27 | operational | 97 | monopile | 0-10 | 189 | Yes
UK053 | UK | Inner Sound | 0.52891 | MeyGen Limited | tidal stream (turbines) | 4 | operational | 6 | gravity-based | 25-50 |  | Yes | Lease - Marine. Height to be confirmed.
UK054 | UK | Islay Demo Zone | 0.54647 | EMEC Limited | tidal stream (turbines) | 10 | out of service | 10 |  | 25-50 | 0 | No | Third Party Managed Tidal Demonstration Zone
UK055 | UK | Isle of Islay | 4.642 | West Islay Tidal Energy Park | tidal stream (turbines) | 30 | authorised | 30 | monopile | 10-25 |  | Yes | Agreement / Option for Lease. Height to be confirmed.
UK056 | UK | Kentish Flats Extension Wind Farm | 7.4964 | Vattenfall Wind Power Limited | wind turbine | 15 | operational | 49.5 | monopile | 0-10 | 196 | Yes
UK057 | UK | Kentish Flats Wind Farm | 8.3247 | Kentish Flats Limited | wind turbine | 30 | operational | 90 | monopile | 0-10 | 160 | Yes
UK058 | UK | Lashy Sound | 0.2142 | Scotrenewables Tidal Power Ltd | tidal stream (turbines) | 15 | designated | 10 | other | 25-50 |  | Yes | Agreement / Option for Lease. Height to be confirmed.
UK059 | UK | Lincs Wind Farm | 6.3313 | Lincs Wind Farm Limited | wind turbine | 75 | operational | 270 | monopile | 10-25 | 220 | Yes
UK060 | UK | London Array Wind Farm | 20.4253 | London Array Limited | wind turbine | 175 | operational | 630 | monopile | 10-25 | 207 | Yes
UK061 | UK | Lynn Wind Farm | 5.238 | Lynn Wind Farm Limited | wind turbine | 27 | operational | 97 | monopile | 0-10 | 189 | Yes
UK062 | UK | MacColl Wind Farm | 28.4792 | MacColl Offshore Windfarm Limited | wind turbine | 62 | authorised | 372 |  | 25-50 | 204 | Yes | turbine foundation type is not decided. Foundation type to be confirmed
UK063 | UK | Methil (2-B Energy) Wind Farm | 1.1058 | Forthwind Limited | wind turbine | 2 | authorised | 14 | jacket | 10-25 | 0 | Yes
UK064 | UK | Methil Demo Wind Farm | 0 | ORE Catapult Limited | wind turbine | 1 | operational | 7 | jacket | 0-10 | 196 | Yes
UK065 | UK | Moray Firth Met Mast | 26.5793 | Moray Offshore Renewables Limited | other | 1 | operational |  | gravity-based | 25-50 | 204 | No | anemometry mast. Capacity to be confirmed.
UK066 | UK | Mull of Galloway | 0.68476 | Marine Current Turbines Ltd | tidal stream (turbines) |  | designated |  | monopile |  |  |  | Agreement / Option for Lease. Number of devices, capacity, water depth, height and EIA to be confirmed
UK067 | UK | Mull of Kintyre | 0.31978 | Argyll Tidal Ltd | tidal stream (turbines) | 7 | designated | 3.5 |  |  |  |  | Two phase project expected. Foundation type, water depth, height and EIA to be confirmed
UK068 | UK | Neart na Gaoithe Wind Farm | 15.462 | Neart Na Gaoithe Offshore Wind | wind turbine | 56 | authorised | 448 | jacket | 50-100 | 197 | Yes
UK069 | UK | Ness of Duncansby | 0.26603 | Duncansby Tidal Power Limited | tidal stream (turbines) |  | designated | 100 | tripod/tripile | 50-100 |  |  | Two phase project expected. Number of devices, height and EIA to be confirmed
UK070 | UK | NOAH Met Mast | 5.0395 | ORE Catapult Limited | other | 1 | operational |  | tripod/tripile | 25-50 | 104 | No | anemometry mast. Capacity to be confirmed.
UK071 | UK | Norfolk Boreas Wind Farm | 73.3108 | Vattenfall Wind Power Limited | wind turbine |  | designated | 1800 |  | 25-50 | 0 | Yes | turbine foundation type is not decided. Number of devices, foundation type to be confirmed
UK072 | UK | Norfolk Vanguard Wind Farm | 47.6462 | Norfolk Vanguard Limited | wind turbine |  | designated | 1800 |  | 25-50 | 0 | Yes | turbine foundation type is not decided. Number of devices, foundation type to be confirmed
UK073 | UK | North Devon Demo Zone | 0.162 | Wave Hub Limited | tidal stream (turbines) |  | decommissioned |  |  | 10-25 | 0 |  | Nothing built to decommision but AfL not taken forward. Variable number of devices. Capacity and EIA to be confirmed.
UK074 | UK | North Hoyle Wind Farm | 7.1788 | NWP Offshore Limited | wind turbine | 30 | operational | 60 | monopile | 0-10 | 147 | Yes
UK075 | UK | North West Lewis (30MW) | 0 | Lewis Wave Power Limited | wave (floating) | 30 | authorised | 30 |  |  | 4.5 | Yes | Agreement / Option for Lease. Foundation type, water depth to be confirmed
UK076 | UK | Ormonde Wind Farm | 9.0551 | Ormonde Energy Limited | wind turbine | 30 | operational | 150 | other | 10-25 | 215 | Yes | quadrapod foundation
UK077 | UK | Perpetuus Tidal Energy Centre (PTEC) | 1.9226 | Isle of Wight Council | tidal stream (turbines) | 1 | authorised | 30 |  | 50-100 | 9 |  | Project appears to be dormant, nothing built to decommision but AfL not taken forward. Foundation type and EIA to be confirmed
UK078 | UK | Portland Bill | 1.7146 | Marine Current Turbines Limited | tidal stream (turbines) |  | designated | 30 |  | 25-50 |  |  | Number of devices, foundation type, height and EIA to be confirmed
UK079 | UK | Race Bank Wind Farm | 26.6879 | Race Bank Wind Farm Limited | wind turbine | 91 | operational | 573 | monopile | 10-25 | 0 | Yes
UK080 | UK | Rampion Wind Farm | 13.3424 | Rampion Offshore Wind Limited | wind turbine | 116 | operational | 400 | monopile | 25-50 | 140 | Yes
UK081 | UK | Ramsey Sound | 0.059777 | Tidal Energy Limited | tidal stream (turbines) | 1 | decommissioned | 0.4 | gravity-based | 25-50 |  |  | Currently in administration. Height and EIA to be confirmed.
UK082 | UK | Rhyl Flats Wind Farm | 7.7288 | Rhyl Flats Wind Farm Limited | wind turbine | 25 | operational | 90 | monopile | 0-10 | 187 | Yes
UK083 | UK | Robin Rigg East Wind Farm | 8.5829 | EON C&R UK Robin Rigg East Limited | wind turbine | 30 | operational | 90 | monopile | 0-10 | 168 | Yes
UK084 | UK | Robin Rigg West Wind Farm | 8.5808 | EON C&R UK Robin Rigg West Limited | wind turbine | 30 | operational | 90 | monopile | 0-10 | 168 | Yes
UK085 | UK | Sanda Sound | 0.61553 | Oceanflow Development Limited | tidal stream (turbines) |  | out of service | 0.035 |  | 10-25 | 0 |  | Number of devices, foundation type and EIA to be confirmed
UK086 | UK | Scarweather Sands Met Mast | 8.0104 | EON UK PLC | other | 1 | decommissioned |  | monopile | 0-10 | 0 | No | anemometry mast. Capacity to be confirmed.
UK087 | UK | Scroby Sands Wind Farm | 3.8221 | E.ON Climate & Renewables UK Limited | wind turbine | 30 | operational | 60 | monopile | 0-10 | 148 | Yes
UK088 | UK | SeaGreen Alpha Wind Farm | 26.8264 | Seagreen Alpha Wind Energy Limited | wind turbine | 114 | authorised | 1075 | jacket | 25-50 | 210 | Yes | turbine foundation type is not decided
UK089 | UK | SeaGreen Bravo Wind Farm | 38.0146 | Seagreen Bravo Wind Energy Limited | wind turbine | 75 | application | 2300 |  | 50-100 | 210 | Yes | Jacket or gravity based. . Foundation type to be confirmed
UK090 | UK | Shell Flats No. 1 (Western) Met Mast | 15.7864 | DONG Energy Wind Power A/S | other | 1 | operational |  | monopile | 0-10 | 0 |  | anemometry mast. Capacity and EIA to be confirmed.
UK091 | UK | Shell Flats No. 2 (Eastern) Met Mast | 10.0539 | DONG Energy Wind Power A/S | other | 1 | operational |  | monopile | 0-10 | 0 |  | anemometry mast. Capacity and EIA to be confirmed.
UK092 | UK | Sheringham Shoal Wind Farm | 16.7397 | SCIRA Offshore Energy Limited | wind turbine | 88 | operational | 317 | monopile | 10-25 | 187 | Yes
UK093 | UK | Sound of Islay | 0 | Islay Tidal Power Limited | tidal stream (turbines) | 10 | authorised | 10 |  | 10-25 |  | Yes | Demonstration array site. Foundation type, height to be confirmed
UK094 | UK | South Pembrokeshire Demonstration Zone | 12.2813 | Wave Hub Limited | wave (floating) |  | application |  |  | 50-100 | 0 | Yes | Demonstration array site, third Party Managed Wave Demonstration Zone. Variable number of devices. Capacity to be confirmed.
UK095 | UK | St David's Head | 0.089876 | Tidal Energy Dev'mts Sth Wales | tidal stream (turbines) | 1 | decommissioned | 10 |  | 25-50 | 0 |  | EIA to be confirmed
UK096 | UK | Stevenson Wind Farm | 22.2705 | Stevenson Offshore Windfarm Limited | wind turbine | 62 | authorised | 372 |  | 25-50 | 204 | Yes | turbine foundation type is not decided. Foundation type to be confirmed
UK097 | UK | Strangford Lough Array | 0 | Marine Current Turbines Limited | tidal stream (turbines) |  | operational | 20 |  | 25-50 | 0 | Yes | Number of devices, foundation type to be confirmed
UK098 | UK | Strangford Lough Minesto | 0.099096 | Minesto UK Limited | tidal stream (turbines) | 1 | decommissioned | 1.2 | jacket | 10-25 |  | Yes | Height to be confirmed.
UK099 | UK | Strangford Lough SeaGen | 0.12638 | Sea Generation Limited | tidal stream (turbines) | 1 | decommissioned | 1.2 | jacket | 10-25 | 9 |  | EIA to be confirmed
UK100 | UK | Teesside A Wind Farm | 179.75 | Doggerbank Project 2 Bizco Limited | wind turbine | 100 | authorised | 1200 |  | 10-25 | 315 | Yes | turbine foundation type is not decided. Foundation type to be confirmed
UK101 | UK | Teesside B Wind Farm | 164.8026 | Doggerbank Project 3 Bizco Limited | wind turbine |  | authorised | 1200 |  | 25-50 | 315 | Yes | turbine foundation type is not decided. Number of devices, foundation type to be confirmed
UK102 | UK | Teesside Wind Farm | 0.94687 | Teesside Windfarm Limited | wind turbine | 27 | operational | 62 | monopile | 10-25 | 173 | Yes
UK103 | UK | Telford Wind Farm | 22.2772 | Telford Offshore Windfarm Limited | wind turbine | 62 | authorised | 372 |  | 25-50 | 204 | Yes | turbine foundation type is not decided. Foundation type to be confirmed
UK104 | UK | Thanet Wind Farm | 10.8056 | Thanet Offshore Wind Limited | wind turbine | 100 | operational | 300 | monopile | 10-25 | 160 | Yes
UK105 | UK | Torr Head | 0.37776 | Tidal Ventures Limited | tidal stream (turbines) | 50 | authorised | 100 | jacket | 50-100 |  | Yes | Height to be confirmed.
UK106 | UK | Triton Knoll Wind Farm | 30.9627 | Triton Knoll Offshore Windfarm | wind turbine | 90 | authorised | 860 | monopile | 10-25 | 187 | Yes
UK107 | UK | Walney 1 Wind Farm | 14.1027 | Walney (UK) Offshore Windfarms Limited | wind turbine | 51 | operational | 184 | monopile | 10-25 | 191 | Yes
UK108 | UK | Walney 2 Wind Farm | 17.6923 | Walney (UK) Offshore Windfarms Limited | wind turbine | 51 | operational | 184 | monopile | 25-50 | 210 | Yes
UK109 | UK | Walney Extension (WOW03) Wind Farm | 26.6824 | Dong Energy Walney Extension (UK) Limited | wind turbine | 40 | operational | 330 | monopile | 25-50 | 0 | Yes
UK110 | UK | Walney Extension (WOW04) Wind Farm | 19.7472 | Dong Energy Walney Extension (UK) Limited | wind turbine | 47 | operational | 329 | monopile | 25-50 | 0 | Yes
UK111 | UK | Wave Hub | 15.0406 | Wave Hub Limited | wave (floating) |  | operational | 20 |  | 50-100 | 13 | Yes | Demonstration zone. Variable number of devices.
UK112 | UK | West Anglesey Demonstration Zone | 0.43909 | Menter Mon Limited | tidal stream (turbines) |  | designated |  |  | 25-50 | 0 |  | Demonstration zone. Number of devices, capacity and EIA to be confirmed
UK113 | UK | West of Duddon Sands Wind Farm | 13.9019 | JV West of Duddon Sands | wind turbine | 108 | operational | 389 | monopile | 10-25 | 210 | Yes
UK114 | UK | Westermost Rough Wind Farm | 7.985 | Westermost Rough Limited | wind turbine | 35 | operational | 210 | monopile | 10-25 | 256 | Yes
UK115 | UK | Westray South | 0.51573 | Westray South Tidal Devmt Ltd | tidal stream (turbines) | 200 | designated | 200 |  | 25-50 |  | Yes | Agreement / Option for Lease. Foundation type, height to be confirmed
UK116 | UK | Bardsey Sound |  | NOVA innovation ltd | tidal stream (turbines) | 1 | designated | [5 empty] | GIS Locations not available. Distance to coast, capacity, foundation type, water depth, height and EIA to be confirmed
UK117 | UK | Dogger Bank - Creyke Beck A | 130.5169 | Forewind Limited | wind turbine | 200 | authorised | 1200 |  |  |  | Yes | Foundation type to be confirmed. Water depth 18-63. Height to be confirmed.
UK118 | UK | Dogger Bank - Creyke Beck B | 130.4218 | Forewind Limited | wind turbine | 200 | authorised | 1200 |  |  |  | Yes | Foundation type to be confirmed. Water depth 18-63. Height to be confirmed.
UK119 | UK | Dounreay Tri Wind Farm | 8.605 | Hexicon | wind turbine | 2 | authorised |  | other | 0-10 |  | Yes | Capacity to be confirmed. Floating foundation type. Height to be confirmed.
UK120 | UK | East Anglia North Tranche 2 (Norfolk Boreas) | 73.1442 | Vattenfall Wind Power Ltd | wind turbine |  | designated | 1800 |  |  |  | No | Number of devices 90-120. Foundation type, water depth, height to be confirmed
UK121 | UK | East Anglia North Tranche One East (Norfolk Vanguard East) | 70.0595 | East Anglia FOUR Limited | wind turbine |  | designated | 1800 |  |  |  | No | Number of devices 90-120. Foundation type, water depth, height to be confirmed
UK122 | UK | East Anglia North Tranche One West (Norfolk Vanguard West) | 47.5283 | East Anglia FOUR Limited | wind turbine |  | designated | 1800 |  |  |  | No | Number of devices 90-120. Foundation type, water depth, height to be confirmed
UK123 | UK | Kincardine Wind Farm | 14.1038 | Pilot offshore renewables ltd | wind turbine | 5 | authorised | 50 | other | 0-10 |  | Yes | Floating foundation type. Height to be confirmed.
UK124 | UK | SeaGreen Charlie Wind Farm | 42.9047 | Seagreen Charlie Wind Energy | wind turbine | 122 | designated | 610 |  | 25-50 |  |  | Foundation type, height and EIA to be confirmed
UK125 | UK | Connel | 1 | Sustainable Marine Energy Ltd | tidal stream (turbines) | 4 | authorised | 0.28 |  |  |  |  | Plat-I Floating turbine. Foundation type, water depth, height and EIA to be confirmed
UK126 | UK | Holyhead Deep 0.5MW | 6 | Minesto UK Limited | tidal stream (kites) | 1 | authorised | 0.5 |  |  |  | Yes | Test site added to original Holyhead Deep site. Foundation type, water depth, height to be confirmed
UK127 | UK | Strangford Lough |  | Minesto UK Limited | tidal stream (kites) | 1 | operational | 0.3 |  |  | 0 | Yes | Test site. Distance to coast to be confirmed. Foundation type, water depth to be confirmed