## 2020
ID_No | Country | Name | Distance_t | Operator | Device_Typ | No_of_Devi | Current_St | Capacity | Foundation | Water_dept | Height | EIA | Remarks
Be001 | Belgium | C-Power | 27 | C-Power | wind turbine | 54 | operational | 325.2 | gravity-based/jacket | 10-25 | 130 | yes | Project layout in 2 blocks,Six 5 MW turbines operational from 2008 and thirty 6 MW turbines operational from 2012, Installation of remainder of eightteen 6 MW windturbines during 2013. Park is fully operational since september 2013.
Be002 | Belgium | Northwind | 37 | Parkwind | wind turbine | 72 | operational | 216 | monopile | 25-50 | 130 | yes | (old name: Eldepasco)
Be003 | Belgium | Belwind phase 1 | 46 | Parkwind | wind turbine | 56 | operational | 171 | monopile | 25-50 | 126 | yes | 55 turbines of Phase I installed in 2010. Operational from end 2010. September 2013: installation Alstom Haliade 6MW: operational from september 2014. In 2015 Belwind was partially transferred to Nobelwind. The partial transfer was granted on 7 October 2015.
Be009 | Belgium | Belwind phase 2 (Nobelwind) | 48-50 | Parkwind | wind turbine | 51 | operational | 165 | monopile | 25-50 | 140 | yes
Be004 | Belgium | Rentel | 31 | Rentel | wind turbine | 42 | operational | 309 | monopile | 25-50 | 130 | yes | Area concession granted in June 2009. Environmental permit granted on 8/2/2013.
Be005 | Belgium | Norther | 22.5 | Norther | wind turbine | 44 | operational | 370 | monopile | 10-25 | 150 | yes | Area concession granted in June 2009. Environmental permit granted on 8/2/2013, Environmental permit cables granted on 8 april 2014. Under construction.
Be006 | Belgium | Seastar | 38 | SeaMade | wind turbine | 30 | operational | 252 | monopile | 20-25 | 150 | yes | Area concession granted in June 2012. Environmental permit granted on 7 february 2014.
Be007 | Belgium | Mermaid | 50 | SeaMade | wind turbine | 28 | operational | 235.2 | monopile | 25-50 | 150 | yes | Area concession granted in July 2012. Application environmental permit recevied in september 2014 .In addition wave energy converters will be installed amongs the wind turbine. In 2015 Mermaid was partially transferred to Northwester 2. The modalities for the implementation of the partial transfer were granted on 12 May 2015.
Be008 | Belgium | Northwester 2 | 46 | Parkwind | wind turbine | 23 | operational | 219 | monopile | 25-50 | 150 | yes | Modalities for the implementation of the partial transfer of Mermaid to Northwester 2 granted on 12 May 2015.
FR01 | France | Cote d'Albatre | 7 | Enertrag | Wind Turbine | 21 | authorised, but court case in process | 105 | monopile | 10-25 | 0 | yes
FR02 | France | Courseulles-sur-Mer - AO1 |  | Eoliennes offshore du calvados (EDF Re, ENBRIDGE, WPD) | Wind Turbine | 75 | authorised | 450 | monopile
FR03 | France | Saint Nazaire - AO1 | 12 | Eoliennes offshore du calvados (EDF Re, ENBRIDGE, WPD) | Wind Turbine | 80 | authorised | 480 | monopile
FR04 | France | Saint Brieuc - AO1 | 16.3 | Eoliennes offshore du calvados (EDF Re, ENBRIDGE, WPD) | Wind Turbine | 62 | authorised | 496 | tripod jacket |  | 207 (upper blade)
FR05 | France | Fécamp - AO1 | 12 | Eoliennes offshore du calvados (EDF Re, ENBRIDGE, WPD) | Wind Turbine | 71 | authorised | 497 | gravitation
FR06 | France | Deux îles (Yeu-Noirmoutier) - AO2 | 16.5 | Eoliennes en mer Îles d'Yeu et de Noirmoutier GDF Suez/EDPR/Neoen Marine | Wind Turbine | 62 | authorised | 496 | tripod jacket | 15-35 | 202
FR07 | France | Dieppe-le-Tréport - AO2 | 16 | Eoliennes en mer Dieppe le Tréport - GDF Suez/EDPR/Neoen Marine | Wind Turbine | 62 | authorised | 496 | tripod jacket | 14-24 | 202
FR09 | France | Dunkerque - AO3 | 11.4 | Eoliennes en Mer de Dunkerque (EDF Re/Innogy SE/Enbridge) | Wind Turbine | 46 | authorised | 600 | monopile
FR10 | France | EFGBI - Pilot Farm | 20 | EOLFI Offshore France, CDC, Méridiam RCF | Wind Turbine | 3 | authorised | 28.5 | floating, semi-submersible |  | 190
FR11 | France | EFPGL - Pilot Farm | 14 | EDF EN | Wind Turbine | 3 | authorised | 24 | floating, anchoring on tensioned lines | 100
FR12 | France | EF Golfe du Lion - Pilot Farm | 16 | Engie, EDPR, CDC | Wind Turbine | 3 | authorised | 24 | floating, semi-submersible | 75
FR13 | France | EF EolMed - Pilot Farm | 18 | Lucia Holding, Quadran Energies marines | Wind Turbine | 3 | authorised | 30 | floating, semi-submersible | 60
FR14 | France | Normandie - AO4 | 32 | TBD | Wind Turbine | TBD | call of tenders | 1000
FR15 | France | Bretagne Sud - AO5 |  | TBD | Wind Turbine | TBD | call of tenders | 750 | floating
FR16 | France | Méditerranée - AO6 |  | TBD | Wind Turbine | TBD | call of tenders | 500 | floating
FR17 | France | Oléron - AO7 |  | TBD | Wind Turbine | TBD | call of tenders | 1000
De001 | Germany | alpha ventus | 55 | DOTI GmbH & Co.KG (Stiftung Offshore Windenergie) | wind turbine | 12 | operational | 62 | monopile/jacket | 25-50 | 150 | yes
De002 | Germany | DanTysk | 66 | Dan Tysk Offshore Wind GmbH | wind turbine | 80 | operational | 288 | monopile |  | 130 | yes | water depth 10-25/25-50
De004 | Germany | Borkum Riffgrund 1 | 50 | Borkum Riffgrund I Offshore Windpark A/S GmbH&Co oHG (Orsted) | wind turbine | 78 | operational | 311 | monopile |  | 115 | yes | water depth 10-25/25-50
De005 | Germany | Amrumbank West | 55 | Amrumbank West GmbH | wind turbine | 80 | operational | 303 | monopile, tripod/tripile, jacket, gravity-based, other | 10-25 | 130 | yes
De006 | Germany | Nordsee Ost | 56 | Windpark Nordsee Ost GmbH (Essent Wind Nordsee Ost Planungs- und Betriebsgesellschaft mbH, ein Unternehmen der RWE) | wind turbine | 48 | operational | 288 | jacket | 10-25 | 140 | yes
De008 | Germany | Butendiek | 53 | wpd nordsee offshore GmbH | wind turbine | 80 | operational | 288 | monopile | 10-25 | 130 | yes
De009 | Germany | GlobalTech I | 104 | Global Tech I Offshore Wind GmbH (Wetfeet Offshore Windenergy GmbH) | wind turbine | 80 | operational | 400 | tripod/tripile | 25-50 | 150 | yes
De011 | Germany | EnBW Hohe See | 98 | EnBW EnBW Hohe See GmbH & Co. KG (EnBW Nordsee Offshore GmbH) | wind turbine | 71 | operational | 500 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 110 | yes
De012 | Germany | Sandbank | 84 | Sandbank Offshore Wind GmbH (Sandbank Power GmbH & Co, KG) | wind turbine | 72 | operational | 288 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 100 | yes
De013 | Germany | Gode Wind 01 | 39 | Gode Wind I GmbH (Orsted) | wind turbine | 55 | operational | 320 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 125 | yes
De017 | Germany | EnBW He Dreiht | 96 | EnBW Nordsee Offshore GmbH | wind turbine | 75 | authorised | 900 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 110 | yes
De018 | Germany | Nordergruende | 16 | wpd Offshore GmbH (Energiekontor GmbH) | wind turbine | 18 | operational | 111 | monopile, tripod/tripile, jacket, gravity-based, other |  | 150 | yes | water depth 10-25/25-50
De019 | Germany | Riffgat | 28 | Offshore Windpark Riffgat GmbH & Co, KG (ENOVA Offshore Projektentwicklungs-GmbH & Co.KG) | wind turbine | 30 | operational | 108 | monopile, tripod/tripile, jacket, gravity-based, other | 10-25 | 180 | yes
De021 | Germany | BARD Offshore 1 | 100 | Bard Engineering GmbH | wind turbine | 80 | operational | 400 | tripile | 25-50 | 110 | yes
De022 | Germany | Deutsche Bucht | 98 | Northland Deutsche Bucht GmbH (British Wind Energy GmbH) | wind turbine | 31 | operational | 252 | monopile | 25-50 | 189.5 | yes
De024 | Germany | Merkur Offshore (MEG Offshore I) | 56 | Merkur Offshore GmbH | wind turbine | 66 | operational | 400 | tripod | 25-50 | 150 | yes
De025a | Germany | Trianel Windpark Borkum Phase 1 | 59 | Infrastruktur Windkraftwerk Borkum GmbH & Co. KG (Trianel Windkraftwerk Borkum II GmbH & Co, KG) | wind turbine | 40 | operational | 200 | tripod |  | 150 | yes | water depth 10-25/25-50
De025b | Germany | Trianel Windpark Borkum Phase 2 | 61 | Infrastruktur Windkraftwerk Borkum GmbH & Co. KG (Trianel Windkraftwerk Borkum II GmbH & Co, KG) | wind turbine | 32 | operational | 200 | tripod/tripile |  | 150 | yes | water depth 10-25/25-50
De026 | Germany | Nordsee One | 41 | Nordsee One GmbH | wind turbine | 54 | operational | 332 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 150 | yes
De028 | Germany | Borkum Riffgrund 2 | 50 | Orsted Borkum Riffgrund II GmbH (Dong Energy Borkum Riffgrund II GmbH) | wind turbine | 56 | operational | 495 | monopile/other | 25-50 | 199 | yes | 36 monopiles and 20 suction bucket jackets
De031 | Germany | Kaskasi II | 56 | RWE Innogy Kaskasi GmbH | wind turbine | 38 | authorised | 342 | monopile | 25-50 | 190.5 | yes
De032 | Germany | Gode Wind 02 | 45 | Gode Wind II GmbH (Orsted) | wind turbine | 42 | operational | 252 | monopile | 25-50 | 150 | yes
De034 | Germany | Veja Mate | 97 | Veja Mate Offshore Project GmbH | wind turbine | 67 | operational | 400 | tripod/tripile | 25-50 | 110 | yes
De036 | Germany | Meerwind Sued/Ost | 53 | Wind MW GmbH | wind turbine | 80 | operational | 288 | monopile, tripod/tripile, jacket, gravity-based, other |  | 110 | yes | water depth 10-25/25-50
De037 | Germany | Albatros | 111 | EnBW Albatros GmbH | wind turbine | 16 | operational | 116 | monopile, tripod/tripile, jacket, gravity-based, other | 25-50 | 165 | yes
De074 | Germany | Gode Wind 3 | 39 | Gode Wind 03 GmbH (Orsted), (PNE Gode Wind III GmbH, Gode Wind II GmbH (Orsted)) | wind turbine | 23 | authorised | 242 | monopile | 25-50 | 225 | yes
De117 | Germany | N-3.5 | 42 |  | wind turbine |  | designated | 420 |  | 25-50
De118 | Germany | N-3.6 | 47 |  | wind turbine |  | designated | 480 |  | 25-50
De119 | Germany | N-3.7 | 41 |  | wind turbine |  | designated | 225 |  | 25-50
De120 | Germany | N-3.8 | 44 |  | wind turbine |  | designated | 433 |  | 25-50
De121 | Germany | N-6.6 | 94 |  | wind turbine |  | designated | 630 |  | 25-50
De122 | Germany | N-6.7 | 102 |  | wind turbine |  | designated | 270 |  | 25-50
De123 | Germany | N-7.2 | 94 |  | wind turbine |  | designated | 930 |  | 25-50
De124 | Germany | N-9.1 | 109 |  | wind turbine |  | designated | 1000 |  | 25-50
De125 | Germany | N-9.2 | 118 |  | wind turbine |  | designated | 1000 |  | 25-50
De126 | Germany | N-9.3 | 109 |  | wind turbine |  | designated | 1000 |  | 25-50
De127 | Germany | N-9.4 | 122 |  | wind turbine |  | designated | 1000 |  | 25-50
De128 | Germany | N-10.1 | 126 |  | wind turbine |  | designated | 1000 |  | 25-50
De129 | Germany | N-10.2 | 134 |  | wind turbine |  | designated | 1000 |  | 25-50
De130 | Germany | Borkum Riffgrund 3 | 67 | Borkum Riffgrund II GmbH | wind turbine | 83 | authorised | 900 | monopile | 25-50 | 242 | yes
| Netherlands | Clearcamp | 56 | Clearcamp (was: Eolic Power GmbH) | Wind Turbine | 55 | withdrawn | 275 | tripile | 29-33 | 150
| Netherlands | Den Helder I | 63 | Den Helder Windfarm BV | Wind Turbine | 78 | withdrawn | 468 | monopile | 23 | 160
| Netherlands | OWP Q4-WP | 24 | Q4 BV | Wind Turbine | 40 | withdrawn | 120 | monopile | 0-25 | 109
| Netherlands | Tromp Binnen | 75 | RWE | Wind Turbine | 59 | withdrawn | 295 | gravity-based | 20-33 | 152
| Netherlands | OWP West Rijn | 40 | West Rijn Wind Farm BV | Wind Turbine | 72 | withdrawn | 260 | monopile | 19-21 | 130
| Netherlands | Q4 West | 26 | Eneco Wind B.V. (was: Q4-West B.V.) | Wind Turbine | 70 | withdrawn | 210 | monopile | 0-25 | 136.8
NL001 | Netherlands | OWF Prinses Amalia | 23 | Eneco | Wind Turbine | 60 | operational | 120 | monopile |  | 0 | yes
NL002 | Netherlands | OWF Egmond aan Zee | 18 | Noordzeewind | Wind Turbine | 36 | operational | 108 | monopile |  | 0 | yes
NL003 | Netherlands | OWF Luchterduinen | 23 | Eneco | Wind Turbine | 43 | operational | 129 | monopile |  | 0 | yes
NL004 | Netherlands | OWF Gemini ZeeEnergie | 85 | i.a. Northland | Wind Turbine | 75 | operational | 300 | monopile |  | 0 | yes
NL005 | Netherlands | OWF Gemini Buitengaats | 86 | i.a. Northland | Wind Turbine | 75 | operational | 301 | monopile |  | 0 | yes
NL006 | Netherlands | OWF Borssele I | 22 | DONG - Orsted | Wind Turbine | 43 | operational | 350 | monopile |  | 0 | yes
NL007 | Netherlands | OWF Borssele II | 22 | DONG - Orsted | Wind Turbine | 43 | operational | 351 | monopile |  | 0 | yes
NL008 | Netherlands | OWF Borssele III | 22 | Consortium Shell, Van Oord, Eneco en Mitsubishi/DGE | Wind Turbine | 43 | operational | 352 | monopile |  | 0 | yes
NL009 | Netherlands | OWF Borssele IV | 22 | Consortium Shell, Van Oord, Eneco en Mitsubishi/DGE | Wind Turbine | 43 | operational | 353 | monopile |  | 0 | yes
NL010 | Netherlands | OWF Hollandse Kust Zuid I + II | 22 | Vattenfall | Wind Turbine | 70 | authorised | 760 | monopile |  |  | yes
NL011 | Netherlands | OWF Hollandse Kust Zuid III + IV | 18 | Vattenfall | Wind Turbine | 70 | authorised | 760 | monopile |  |  | yes
NL012 | Netherlands | OWF Hollandse Kust Noord | 18 | Consortium Crosswind (Shell, Eneco) | Wind Turbine | 70 | authorised | 759 | monopile |  |  | yes
ES001 | Spain | Motriku | 0 | Ente Vasco de la EnergÃ­a (EVE) | Wave (coastal insfrastructure) | 16 | operational | 0.3 |  | 0-10 | 0 |  | The Mutriku Breakwater Wave Plant in the bay of Mutriku (in the Bay of Biscay)is the world's first breakwater wave power plant with a multiple turbine arrangement. It was inaugurated on July 8, 2011
ES002 | Spain | BIMEP | 1.7 | Variable - manufacturers of ocean energy |  |  | operational | 1 |  | 50-100 | 0 |  | bimep provides WEC manufacturers with the opportunity to install their equipment in open sea conditions. http://bimep.com/en/
ES003 | Spain | Parque eólico marino flotante San Cibrao | 13.5 | Iberdrola | Wind turbine | 35 | application | 490 | other (floating structures) | 100-200 | 253 |  | EIA in progress
ES004 | Spain | Parque eólico marino flotante San Brandan | 15 | Iberdrola | Wind turbine | 35 | application | 490 | other (floating structures) | 100-200 | 253 |  | EIA in progress
ES005 | Spain | GEROA | 10 | ITSAS WIND S. L. | Wind turbine | 3 | application | 45 | other (floating structures) | 100-175 | 261 |  | EIA in progress
UK001 | UK | Aberdeen Bay Demo | 1.3347 | Aberdeen Offshore Wind Farm Limited | Wind Farm | 11 | operational | 92.4 | jacket | 20-30m | 202 | Yes | Suction bucket
UK128 | UK | Awel y Mor | 10.373 | Awel y Mor Offshore Wind Farm Limited | Wind Farm |  | application
UK116 | UK | Bardsey Sound | 0.51116 | NOVA innovation ltd | Tidal stream (turbines) | 1 | authorised | [5 empty] | GIS Locations not available
UK002 | UK | Barrow Wind Farm | 7.1607 | Barrow Offshore Wind Limited | Wind Farm | 30 | operational | 90 | monopile | 10-25m | 165 | Yes
UK003 | UK | Beatrice | 13.3612 | Beatrice Offshore Wind Farm Limited | Wind Farm | 84 | authorised | 588 | jacket | 25-50m | 198.4 | Yes
UK140 | UK | Berwick and Marr Bank Wind Farm | 30.8585 | Seagreen Delta Wind Energy | Wind Farm |  | application | 3200 |  |  |  | Yes | R3 z2 pZ3
UK004 | UK | Bluemull Sound | 0.15106 | Nova Innovation Ltd | Tidal stream (turbines) | 3 | operational | 0.3 | Gravity-based | 25-50m |  |  | Lease - Marine
UK005 | UK | Blyth Demo (Phase 1) Wind Farm | 4.739 | Blyth Offshore Demonstrator Limited | Wind Farm | 5 | operational | 41.5 | gravity-based | 25-50m | 191.5 | Yes
UK006 | UK | Blyth Demo (Phase 2 & 3) Wind Farm | 5.3756 | Blyth Offshore Demonstrator Limited | Wind Farm | 10 | operational | 58.4 |  | 50-100 | 0 | Yes
UK007 | UK | Blyth Wind Farm | 0.4841 | E.ON C&R UK Blyth Limited | Wind Farm | 2 | operational | 3.8 | monopile | 0-10m | 106 | Yes
UK012 | UK | Burbo Bank Extension Wind Farm | 6.8098 | Dong Energy Burbo Extension (UK) Limited | Wind Farm | 32 | operational | 259 | monopile | 10-25m | 187 | Yes
UK013 | UK | Burbo Bank Wind Farm | 6.0197 | DONG Energy Burbo (UK) Limited | Wind Farm | 25 | operational | 90 | monopile | 0-10m | 190.5 | Yes
UK125 | UK | Connel (PLAT-I) | 1 | Sustainable Marine Energy Ltd | Tidal stream (turbines) | 4 | operational | 0.28
UK014 | UK | Creyke Beck A Wind Farm | 130.9576 | Doggerbank Project 1 Bizco Limited | Wind Farm |  | authorised | 1200 |  | 25-50m | 315 | Yes | turbine foundation type is not decided
UK015 | UK | Creyke Beck B Wind Farm | 130.8452 | Doggerbank Project 4 Bizco Limited | Wind Farm |  | authorised | 1200 |  | 10-25m | 315 | Yes | turbine foundation type is not decided
UK129 | UK | Dogger Bank - Teesside A | 195.323 | Doggerbank Offshore Wind Farm Project 3 Projco Limited | Wind Farm |  | authorised | [5 empty] | Now Dogger Bank A, B and C following the Dogger Bank Wind Farms reorganisation
UK130 | UK | Dudgeon Extension | 26.2175 | Dudgeon Extension Limited | Wind Farm | 34 | application | 402 |  | 14-25m | 326 | Yes
UK019 | UK | Dudgeon Wind Farm | 31.9806 | Dudgeon Offshore Wind Limited | Wind Farm | 67 | operational | 402 | monopile | 10-25m | 187 | Yes
UK021 | UK | East Anglia One North Wind Farm | 36.1215 | ScottishPower Renewables (UK) Limited | Wind Farm |  | authorised | 800 |  | 25-50m | 0 | Yes | turbine number and foundation type is not decided
UK022 | UK | East Anglia One Wind Farm | 48.3696 | East Anglia One Limited | Wind Farm | 102 | operational | 714 | jacket | 25-50m | 197 | Yes
UK024 | UK | East Anglia Three Wind Farm | 67.839 | East Anglia Three Limited | Wind Farm | 100-172 | authorised | 1200 |  | 25-50m | 247 | Yes | turbine foundation type is not decided
UK025 | UK | East Anglia Two Wind Farm | 29.5944 | ScottishPower Renewables (UK) Limited | Wind Farm |  | application | 800 |  | 25-50m | 0 | Yes | turbine number and foundation type is not decided
UK026 | UK | EMEC Bilia Croo | 0 | EMEC Ltd | Wave (floating) |  | operational |  |  | 50-100m |  |  | Wave test site
UK027 | UK | EMEC Fall of Wareness | 0 | EMEC Ltd | Tidal stream (turbines) |  | operational | [5 empty] | Lease - Marine
UK028 | UK | EMEC Scapa Flow | 0.24006 | EMEC Ltd | Wave (floating) |  | operational
UK029 | UK | EMEC Shapinsay Sound | 0.45435 | EMEC Ltd | Tidal stream (turbines) |  | operational |  | Other | 10-25m |  | No | Test Site
UK131 | UK | Erebus | 30.1467 | Blue Gem Wind Limited | Wind Farm |  | application | 96
UK031 | UK | FabTest, Falmouth Bay | 2.2382 | Falmouth Harbour Comissioners | Wave (floating) | Variable | operational | 3 | various | 25-50m | 0 |  | Wave test site
UK032 | UK | Fair Head | 1.0073 | Fair Head Tidal Energy Park Limited | Tidal stream (turbines) | 6 | application | 100 |  | 25-50m | 6 |  | Mulitphase project 4 turbines deployed initialy, then further turbines to be deployed if environmental conditions met
UK132 | UK | Five Estuaries | 37.405 | Five Estuaries Offshore Wind Farm Limited | Wind Farm |  | application | 353
UK034 | UK | Galloper Wind Farm | 28.2229 | Galloper Wind Farm Limited | Wind Farm | 56 | operational | 336 | monopile | 25-50m | 180.5 | Yes
UK036 | UK | Greater Gabbard Wind Farm | 24.7784 | Greater Gabbard Offshore Winds Limited | Wind Farm | 140 | operational | 504 | monopile | 25-50m | 187 | Yes
UK037 | UK | Gunfleet Sands Demo Wind Farm | 8.4384 | Dong Energy Gunfleet Sands Demo (UK) Limited | Wind Farm | 2 | operational | 12 | monopile | 10-25m | 144 | Yes
UK038 | UK | Gunfleet Sands I Wind Farm | 6.3429 | Gunfleet Sands Limited | Wind Farm | 30 | operational | 108 | monopile | 0-10m | 183 | Yes
UK039 | UK | Gunfleet Sands II Wind Farm | 8.3334 | Gunfleet Sands II Limited | Wind Farm | 18 | operational | 65 | monopile | 0-10m | 183 | Yes
UK040 | UK | Gwynt y Mor Wind Farm | 12.3458 | Gwynt y Mor Offshore Windfarm Limited | Wind Farm | 160 | operational | 576 | monopile | 10-25m | 191 | Yes
UK041 | UK | Holyhead Deep | 4.8392 | Minesto UK Limited | Tidal stream (kites) | 20 | authorised | 10 |  | 50-100 | 0 | Yes
UK126 | UK | Holyhead Deep 0.5MW | 6 | Minesto UK Limited | Tidal stream (kites) | 1 | authorised | 1.2 |  | 80 - 100m |  | Yes | Test site added to original Holyhead Deep site
UK045 | UK | Hornsea 1 (Centre) | 105.5462 | Hornsea 1 Limited | Wind Farm | 58 | operational | 406 | monopile | 25-50m | 200 | Yes
UK043 | UK | Hornsea 1 (East) | 111.2445 | Hornsea 1 Limited | Wind Farm | 58 | operational | 406 | monopile | 25-50m | 200 | Yes
UK044 | UK | Hornsea 1 (West) | 102.1983 | Hornsea 1 Limited | Wind Farm | 58 | operational | 406 | jacket | 25-50m | 200 | Yes
UK046 | UK | Hornsea Project 2 (HOW02) Wind Farm | 89.4547 | Optimus Wind Ltd | Wind Farm | 300 | authorised | 1386 |  | 25-50m | 276 | Yes | turbine foundation type is not decided
UK047 | UK | Hornsea Project 3 (HOW03) Wind Farm | 120.8183 | Orsted Hornsea Project Three (UK) Limited | Wind Farm |  | authorised | 2400 | monopile | 25-50m | 0 | Yes | turbine foundation type is not decided
UK048 | UK | Hornsea Project 4 (HOW04) Wind Farm | 65.1132 | Orsted Hornsea Project Four Limited | Wind Farm |  | application | 1200 |  | 25-50m | 325 | Yes | turbine foundation type is not decided
UK049 | UK | Humber Gateway Wind Farm | 7.9372 | E.ON C&R UK Humber Wind Limited | Wind Farm | 73 | operational | 219 | monopile | 10-25m | 192 | Yes
UK050 | UK | Inch Cape Met Mast | 22.5693 | Inch Cape Offshore Limited | Other | 1 | operational |  | gravity-based | 25-50m | 169 | No | anemometry mast
UK051 | UK | Inch Cape Wind Farm | 15.0239 | Inch Cape Offshore Limited | Wind Farm | 72 | application |  |  | 25-50m | 215 | Yes | revised design application, turbine foundation type is not decided
UK052 | UK | Inner Dowsing Wind Farm | 5.0628 | Inner Dowsing Wind Farm Limited | Wind Farm | 27 | operational | 97 | monopile | 0-10m | 189 | Yes
UK053 | UK | Inner Sound | 0.52891 | MeyGen Limited | Tidal stream (turbines) | 4 | operational | 6 | Gravity-based | 25-50m |  | Yes | Lease - Marine
UK055 | UK | Isle of Islay | 4.642 | West Islay Tidal Energy Park | Tidal stream (turbines) | 30 | authorised | 30 | Monopile | 10-25m |  | Yes | Agreement / Option for Lease
UK056 | UK | Kentish Flats Extension Wind Farm | 7.4964 | Vattenfall Wind Power Limited | Wind Farm | 15 | operational | 49.5 | monopile | 0-10m | 196 | Yes
UK057 | UK | Kentish Flats Wind Farm | 8.3247 | Kentish Flats Limited | Wind Farm | 30 | operational | 90 | monopile | 0-10m | 160 | Yes
UK058 | UK | Lashy Sound | 0.2142 | Scotrenewables Tidal Power Ltd | Tidal stream (turbines) | 15 | authorised | 10 | Other | 25-50m |  | Yes | Agreement / Option for Lease
UK059 | UK | Lincs Wind Farm | 6.3313 | Lincs Wind Farm Limited | Wind Farm | 75 | operational | 270 | monopile | 10-25m | 220 | Yes
UK060 | UK | London Array Wind Farm | 20.4253 | London Array Limited | Wind Farm | 175 | operational | 630 | monopile | 10-25m | 207 | Yes
UK061 | UK | Lynn Wind Farm | 5.238 | Lynn Wind Farm Limited | Wind Farm | 27 | operational | 97 | monopile | 0-10m | 189 | Yes
UK143 | UK | META Phase 2 - Dale Roads | 0 | Pembrokeshire Coastal Forum Community Interest Company | Wave Farm |  | operational | 2.8m/s |  | 8 -12m |  |  | Test Areas
UK144 | UK | META Phase 2 - East Pickard Bay | 0 | Pembrokeshire Coastal Forum Community Interest Company | Tidal stream (turbines) |  | operational |  |  | 10 - 29m |  |  | Test Areas
UK145 | UK | META Phase 2 - Warrior Way | 0 | Pembrokeshire Coastal Forum Community Interest Company | Tidal stream (turbines) |  | operational | 1.2m/s |  | 16 - 19m |  |  | Test Areas
UK064 | UK | Methil Demo Wind Farm | 0.26724 | ORE Catapult Limited | Wind Farm | 1 | operational | 7 | jacket | 0-10m | 196 | Yes
UK134 | UK | Mingary | 0 | Wavenet Energy Mingary Ltd | Wave Farm |  | application
UK141 | UK | Moray Offshore Wind Farm (West) | 21.9036 | Moray Offshore Windfarm (West) | Wind Farm | 85 | authorised | 1500 |  |  |  | Yes | Z1 WDA
UK142 | UK | Moray Offshore Windfarm (East) | 22.2339 | Moray Offshore Wind Farm | Wind Farm | 60 | authorised | 950 | jacket |  | 204 | Yes
UK067 | UK | Mull of Kintyre | 0.31978 | Argyll Tidal Ltd | Tidal stream (turbines) | 6 | authorised | 2.5 |  |  |  |  | Two phase project expected
UK068 | UK | Neart na Gaoithe Wind Farm | 15.462 | Neart Na Gaoithe Offshore Wind | Wind Farm | 54 | authorised | 448 | jacket | 50-100 | 197 | Yes
UK071 | UK | Norfolk Boreas Wind Farm | 73.3108 | Vattenfall Wind Power Limited | Wind Farm |  | designated | 1800 |  | 25-50m | 0 | Yes | turbine foundation type is not decided
UK146 | UK | Norfolk Vanguard East And West | 47.4504 | Norfolk Vanguard Limited | Wind Farm | 90 - 200 | application | 1800 |  | 30 - 60m | 350 | Yes
UK135 | UK | North Falls Wind Farm | 22.1603 | North Falls Offshore Wind Farm Limited | Wind Farm |  | authorised | 504 |  |  |  |  | Greater Gabbard Extension
UK074 | UK | North Hoyle Wind Farm | 7.1788 | North Hoyle Offshore Wind Farm Limited | Wind Farm | 30 | operational | 60 | monopile | 0-10m | 147 | Yes
UK147 | UK | Oran na Mara | 0.15048 | Oran na Mara | Tidal Farm |  | application | 3
UK076 | UK | Ormonde Wind Farm | 9.0551 | Ormonde Energy Limited | Wind Farm | 30 | operational | 150 | other | 10-25m | 215 | Yes | quadrapod foundation
UK077 | UK | Perpetuus Tidal Energy Centre (PTEC) | 1.9226 | Isle of Wight Council | Tidal stream (turbines) | 1 | authorised | 30 |  | 50-100 | 9 |  | Project appears to be dormant, nothing built to decommision but AfL not taken forward
UK079 | UK | Race Bank Wind Farm | 26.6879 | Race Bank Wind Farm Limited | Wind Farm | 91 | operational | 573 | monopile | 10-25m | 0 | Yes
UK136 | UK | Rampion Extension | 12.417 | Rampion Extension Development Limited | Wind Farm | 116 | application | 1200 |  |  | 325
UK080 | UK | Rampion Wind Farm | 13.3424 | Rampion Offshore Wind Limited | Wind Farm | 116 | operational | 400 | monopile | 25-50m | 140 | Yes
UK081 | UK | Ramsey Sound | 0.059777 | Tidal Energy Limited | Tidal stream (turbines) | 1 | decommissioned | 0.4 | Gravity-based | 25-50m |  |  | Currently in administration
UK082 | UK | Rhyl Flats Wind Farm | 7.7288 | Rhyl Flats Wind Farm Limited | Wind Farm | 25 | operational | 90 | monopile | 0-10m | 187 | Yes
UK083 | UK | Robin Rigg East Wind Farm | 8.5829 | RWE UK Renewables Operations | Wind Farm | 30 | operational | 90 | monopile | 0-10m | 168 | Yes
UK084 | UK | Robin Rigg West Wind Farm | 8.5808 | EON C&R UK Robin Rigg West Limited | Wind Farm | 30 | operational | 90 | monopile | 0-10m | 168 | Yes
UK087 | UK | Scroby Sands Wind Farm | 3.8221 | E.ON Climate & Renewables UK Limited | Wind Farm | 30 | operational | 60 | monopile | 0-10m | 148 | Yes
UK088 | UK | SeaGreen Alpha Wind Farm | 26.8264 | Seagreen Alpha Wind Energy Limited | Wind Farm | 114 | authorised | 1075 | jacket | 25-50m | 210 | Yes | turbine foundation type is not decided
UK089 | UK | SeaGreen Bravo Wind Farm | 38.0146 | Seagreen Bravo Wind Energy Limited | Wind Farm | 75 | application | 2300 |  | 50-100 | 210 | Yes | Jacket or gravity based.
UK137 | UK | Sheringham Shoal Extension | 15.6914 | SCIRA Extension Limited | Wind Farm | 27 | application | 317 |  | 11-23m | 326 | Yes
UK092 | UK | Sheringham Shoal Wind Farm | 16.7397 | SCIRA Offshore Energy Limited | Wind Farm | 88 | operational | 317 | monopile | 10-25m | 187 | Yes
UK138 | UK | Sofia Wind Farm | 164.3779 | Innogy | Wind Farm | 100 | authorised | 1400 | monopile |  | 252 | Yes | formerly Dogger Bank Teesside B
UK093 | UK | Sound of Islay | 0 | Islay Tidal Power Limited | Tidal stream (turbines) | 10 | authorised | 10 |  | 10-25m |  | Yes
UK094 | UK | South Pembrokeshire Demonstration Zone | 12.2813 | Wave Hub Limited | Wave (floating) | Variable | application |  | various | 50-100 | 0 | Yes | Demonstration array site, third Party Managed Wave Demonstration Zone
UK127 | UK | Strangford Lough |  | Minesto UK Limited | Tidal stream (kites) | 1 | operational | 0.3 |  |  | 0 | Yes | Test site
UK102 | UK | Teesside Wind Farm | 0.94687 | Teesside Windfarm Limited | Wind Farm | 27 | operational | 62 | monopile | 10-25m | 173 | Yes
UK104 | UK | Thanet Wind Farm | 10.8056 | Thanet Offshore Wind Limited | Wind Farm | 100 | operational | 300 | monopile | 10-25m | 160 | Yes
UK105 | UK | Torr Head | 0.37776 | Tidal Ventures Limited | Tidal stream (turbines) | 50 | authorised | 100 | Jacket | 50-100m |  | Yes | TVL was dissolved in 2019 before construction could be deployed.
UK106 | UK | Triton Knoll Wind Farm | 29.9627 | Triton Knoll Offshore Windfarm | Wind Farm | 90 | authorised | 860 | monopile | 10-25m | 187 | Yes
UK107 | UK | Walney 1 Wind Farm | 14.3136 | Walney (UK) Offshore Windfarms Limited | Wind Farm | 51 | operational | 184 | monopile | 10-25m | 191 | Yes
UK108 | UK | Walney 2 Wind Farm | 18.0642 | Walney (UK) Offshore Windfarms Limited | Wind Farm | 51 | operational | 184 | monopile | 25-50m | 210 | Yes
UK109 | UK | Walney Extension (WOW03) Wind Farm | 26.837 | Walney Extension Limited | Wind Farm | 40 | operational | 330 | monopile | 25-50m | 0 | Yes
UK110 | UK | Walney Extension (WOW04) Wind Farm | 19.9869 | Walney Extension Limited | Wind Farm | 47 | operational | 329 | monopile | 25-50m | 0 | Yes
UK111 | UK | Wave Hub | 15.1137 | Wave Hub Limited | Wave (floating) | Variable | operational | 20 | various | 50-100 | 13 | Yes | Demonstration zone
UK112 | UK | West Anglesey Demonstration Zone | 0.43909 | Menter MÃ´n Limited | Tidal stream (turbines) |  | designated |  | various | 25-50m | 0 |  | Aka Morlais; Demonstration zone
UK113 | UK | West of Duddon Sands Wind Farm | 14.0889 | ScottishPower Renewables (WoDS) Limited and Orsted West of Duddon Sands (UK) Limited | Wind Farm | 108 | operational | 389 | monopile | 10-25m | 210 | Yes
UK114 | UK | Westermost Rough Wind Farm | 7.985 | Westermost Rough Limited | Wind Farm | 35 | operational | 210 | monopile | 10-25m | 256 | Yes